DEM USE ONLY

Date Received 	____________

1

1

# RHODE ISLAND DEPARTMENT OF

# ENVIRONMENTAL MANAGEMENT

Office of Water Resources

# RIPDES SMALL MS4 ANNUAL REPORT

# GENERAL INFORMATION PAGE

RIPDES PERMIT #RIR100455__________________

REPORTING PERIOD:	  YEAR  3

Jan 06-Dec 06

## OPERATOR OF MS4

| Name: University of Rhode Island |
| --- |
| Mailing Address: Sherman Building, 523 Plains Road |
| City: Kingston | State: RI | Zip: 02881 | Phone: ( 401) 874-5488 |
| Contact Person: Jerome Sidio | Title: Director, Facilities Services |
| Legal status (circle one): PRI - Private PUB - Public BPP - Public/Private STA - State FED – Federal Other (please specify): |

OWNER OF MS4 (if different from OPERATOR)

| Name: |
| --- |
| Mailing Address: |
| City: | State: | Zip: | Phone: ( ) |
| Contact Person: | Title: |

## CERTIFICATION

I certify under penalty of law that this document and all attachments were prepared under the direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, I certify that the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations. Print Name Jerome B. Sidio________________________________________ Print Title Director, Facilities Services_______________________________ Signature _____________________________________________________ Date 3/05/07

MINIMUM CONTROL MEASURE #1:

PUBLIC EDUCATION AND OUTREACH  (Part IV.B.1 General Permit)

# SECTION I.	MEASURABLE GOALS:

NOTE: Report must be limited to activities implemented during the third year (calendar year 2006) of the program, which the permittee had listed as a measurable goal in the Storm Water Management Program Plan, or incomplete measurable goals that were required for calendar years 2004 and 2005.

| A. REQUIRED MEASURABLE GOALS: |
| --- |
| Permit ID# | BMP ID | List Measurable Goal | Was goal met? ON- YES NO TRK | If not met briefly list reasons, current status, plans and new date for meeting the goal | TMDL related activity? YES NO |
| IV.B.1.b.1 |  | Implementation of activities undertaken to educate the community about storm water issues. | X |  |  |  |  |  |
| IV.B.1.b.2 |  | Implementation of public education activities to involve the community in the storm water program (indicate if activities were undertaken by permittee or other entities) | X |  |  |  |  |  |
| B. ADDITIONAL MEASURABLE GOALS: |
|  |  | See 2005 Annual Report |  |  |  |  |  |  |

PUBLIC EDUCATION AND OUTREACH cont’d

SECTION II.	OVERALL EVALUATION:

GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS: Include relevant information to the implementation of each measurable goal, such as, activities, topics addressed, audiences and pollutants targeted. Discussion of activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for choosing the education activity to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.)

IV.B.1.b.1 The University of Rhode Island’s Cooperative Extension is developing public education materials and outreach materials. Currently during 2006, a Storm Water Management Resource Center website was established to act as an informational hub for members of the project and for the public to visit for information and updates to the progress of the project. This website currently contains information that is specific to the project, including meeting information as well as advisory committee membership and tasks. In the future it is envisioned that this site will offer a "toolbox" containing information for any Rhode Island municipality, seeking to further public education, outreach, and involvement in the issues of storm water pollution. The University has joined this project and will actively take part in the development and implementation of education and outreach for its community.

IV.B.1.b.2 University of Rhode Island, Facilities Services, has met with the local student environmental club and has initiated the development of a plan to label all the storm drains. In conjunction with this effort the club is interested in community awareness and a program is being developed for this purpose and will use information developed by the Cooperative extension in its efforts.

Additional Measurable Goals and Activities

MINIMUM CONTROL MEASURE #2:

PUBLIC INVOLVEMENT/PARTICIPATION  (Part IV.B.2 General Permit)

# SECTION I.	MEASURABLE GOALS:

NOTE: Report must be limited to activities implemented during the third year (calendar year 2006) of the program, which the permittee had listed as a measurable goal in the Storm Water Management Program Plan, or incomplete measurable goals that were required for calendar years 2004 and 2005.

| A. REQUIRED MEASURABLE GOALS: |
| --- |
| Permit ID# | BMP ID | List Measurable Goal | Was goal met? ON- YES NO TRK | If not met briefly list reasons, current status, plans and new date for meeting the goal | TMDL? YES NO |
| IV.B.2.b.2.ii |  | Implementation of public involvement activities and description of groups engaged | X |  |  |  |  |  |
| IV.B.2.b.2.iii |  | Public notice of the draft annual report and provide the opportunity for public comment |  | X |  | The plan and annual report was posted on the Facilities Services Website. The meeting was not held. URI will participate in the education and outreach program. |  |  |
| B. ADDITIONAL MEASURABLE GOALS: |
|  | 2A | Stream cleanup and monitoring programs Organize one cleanup event (1st – 5th Years) | X |  |  |  |  |  |
|  | 2B | Stencil Storm Drains – Stencil 25% of URI’s storm drains (2nd Year) |  | X |  | A student environmental group has been recruited to perform this task. It is hoped to have them underway in April 2007. This effort should complete 100% of our requirement. |  |  |
|  | 2C | Stencil Storm Drains – Stencil 50% of URI’s storm drains (2nd Year) |  |  | X | See 2B |  |  |
|  | 2D | Stencil Storm Drains – Stencil 100% of URI’s storm drains (2nd Year) |  |  | X | See 2B |  |  |
|  | 2F | University Storm Water Committee – Hold Quarterly Meetings (2nd – 5th year) |  | X |  |  |  |  |
|  | 2H | Pet Waste Collection – Post Signs (3rd Year) | X |  |  |  |  |  |

PUBLIC INVOLVEMENT/PARTICIPATION cont’d

SECTION II.	OVERALL EVALUATION:

GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS: Include relevant information to the implementation of each measurable goal, such as, activities and audiences engaged. Discussion of activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for the activities chosen to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.)

IV.B.2.b.2.ii Please refer to last years report for additional information. However we have been using the extensive resources available at the university. We have been able to work with the Cooperative Extension to further the public outreach efforts and have committed to participate in the Storm Water Education and Outreach Program to further enhance our ability to be as effective as possible. In addition we have met with the student environmental club and have solicited their help with the stenciling of the storm drains as well as assisting us with the promotion of responsible behavior regarding protection of the streams and watershed within the student population.

IV.B.2.b.2.iii The annual report was posted on the University’s Facilities Services website front page.

Additional Measurable Goals and Activities 2A: Each year usually in the Spring our Lands & Grounds Dept. organizes a cleanup that covers various areas of the campus specifically designed to use volunteer help from organizations such as Fraternities & Sororities as well as Athletic Clubs looking for community service hours. This has been most effective in cleaning areas that surround White Horn Brook and Ellery Pond. 2B, 2C, 2D See above reference to the Environmental Club’s assistance 2H: Pet waste collection signage has been installed on the Narragansett Bay Campus, the athletic fields have been posted, we expect to expand the signage to include the Flagg Road area where pet owners have been observed walking. University does not allow pets to be kept on the premises and the amount of pet activity is small.

PUBLIC INVOLVEMENT/PARTICIPATION cont’d

SECTION III.  Public Notice Information  (IV.G.2.h and IV.G.2.i)   *Note: attach copy of public notice

| Date of Public Notice: April 20, 2006 | How public was notified: Website |
| --- | --- |
| Was public meeting held? YES NO Date: Not Set Where: Sherman Building Conference Room at the University of RI |
| Summary of public comments received: No comments were received |
| Planned responses or changes to the program: None at this time |

MINIMUM CONTROL MEASURE #3:

ILLICIT DISCHARGE DETECTION AND ELIMINATION  (Part IV.B.3 General Permit)

# SECTION I.	MEASURABLE GOALS:

NOTE: Report must be limited to activities implemented during the third year (calendar year 2006) of the program, which the permittee had listed as a measurable goal in the Storm Water Management Program Plan, or incomplete measurable goals that were required for calendar years 2004 and 2005.

Please Indicate:

If Illicit Discharge Detection and Elimination Ordinance was adopted:					X  YES			( NO

If copy of ordinance or relevant portions were submitted with signed letter of City or Town Solicitor:	( YES			X  NO

(If you answered NO to the above, please include the required documents with this Annual Report.)

*Available upon Request ( Policy in lieu of ordinance)

| A. REQUIRED MEASURABLE GOALS: |
| --- |
| Permit ID# | BMP ID | List Measurable Goal | Was goal met? ON- YES NO TRK | If not met briefly list reasons, current status, plans and new date for meeting the goal | TMDL? YES NO |
| IV.B.3.b.1 |  | Development of an outfall map showing the location of all outfalls and names of receiving waters (COMPLETED YEAR 3) | X |  |  |  |  |  |
| IV.B.3.b.2 |  | Tagging outfall pipes if GIS maps are not being developed (OPTIONAL ACTIVITY) |  | X |  | GIS Mapping is being developed in conjunction with the mapping of our community water system. |  |  |
| IV.B.3.b.3 |  | Recording of additional elements, such as location of catch basins, manholes and pipes, on an on-going basis. | X |  |  |  |  |  |
| IV.B.3.b.5.vi |  | Inspection of all catch basins and manholes for illicit connections and non-storm water discharges | X |  |  |  |  |  |
| IV.B.3.b.5.vii |  | Progress towards completion of two dry weather surveys, one between Jan 1st and April 30th and one between July 1st and Oct 31st. (Sanitary sewers- bacteria sampling is only required once between July 1st and Oct 31st |  |  | X |  |  |  |
| IV.B.3.b.7 |  | Implementation of coordinating activities with physically interconnected MS4s, including state and federal owned or operated MS4s, when illicit discharges are detected or reported | X |  |  | No physical interconnections between other municipalities |  |  |
| IV.B.3.b.9 |  | Education of public employees, businesses, and the general public of hazards associated with illicit discharges and improper disposal of waste as well as allowable non-stormwater discharges found to be significant contributors of pollutants to the MS4. | X |  |  |  |  |  |

ILLICIT DISCHARGE DETECTION AND ELIMINATION cont’d

| B. ADDITIONAL MEASURABLE GOALS: |
| --- |
|  | 3A | Develop a complete storm water system map Inspect and locate by GPS all outfalls (3rd Year) | X |  |  | Map completed - GPS coordinates are still to be accomplished for the outfalls |  |  |
|  | 3B | Develop a complete storm water system map - update map (4th – 5th Year) |  |  | X |  |  |  |
|  | 3C | Develop a complete storm water system map - Inspect all catch basins and manholes (4th Year) |  |  | X |  |  |  |
|  | 3D | Inspect and sample URI discharges - Inspect all university discharges (3rd Year) |  | X |  | Thelsch engineering will be contracted to sample the outfalls. They currently are the contractor that is responsible to sample our wastewater effluent and during these sample periods we will have them take the required outfall samples in Year 4. |  |  |
|  | 3E | Inspect and sample URI discharges -Complete dry weather surveys (4th Year) |  |  | X | See 3D |  |  |
|  | 3F | Current hazardous waste management program (1st - 4th Year) | X |  |  |  |  |  |
|  | 3G | Illicit discharge policy – The university will enforce its current hazardous waste management program (1st – 5th Year) | X |  |  |  |  |  |

SECTION II.  OVERALL EVALUATION:

A.GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS (Include relevant information to the implementation of each measurable goal, such as, activities, and if relevant: topics addressed, audiences and pollutants targeted. Discussion of activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for the activities chosen to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.)

IV.B.3.b.1 Several years ago we developed a base map with all inflows and outfalls, and these will be confirmed under the present Drainage Master Plan contract. Several new inflows will be developed over the next several years as a result of new construction, and these inflows will be added to the map as they are developed. The system is not GIS, but this will also be completed through a mapping program over the next four years.

IV.B.3.b.2 GIS Mapping is being developed in conjunction with the mapping of our community water system.

IV.B.3.b.3 Completed during the development of the URI Storm Water Master Plan in 2006.

IV.B.3.b.5.vi Inspections are performed on a regular basis by our Lands & Grounds Department and basins are cleaned as needed by an outside firm that specializes in the cleaning of stormwater catch basins. Material in the catch basins when it is removed and stock piled, is analyzed and tested for any hazardous materials, this analysis is performed annually before the material is disposed.

IV.B.3.b.5.vii URI’s Stormwater System has continuous flow due to ground water infiltration because of high ground water all times of the year. We will attempt a dry weather survey and record results, however the continuous flow in the majority of our stormwater system may make it difficult to observe any changes other than volume of water moving through the system.

IV.B.3.b.7 No physical interconnections exist between other municipalities

IV.B.3.b.9 S&RM teaches the annually required HAZCOM and hazardous waste classes, and we instruct all those trained to report all environmental problems and/or discharges.

Additional Measurable Goals and Activities

SECTION III.A  Other Reporting Requirements - Illicit Discharge Inspections to Date (Part IV.G.2.m)

| Total Illicit Discharges Identified: None | # of Complaints Received: None |
| --- | --- |
| # of Violations Issued: None | # of Unresolved Violations Referred to RIDEM: None |
| Summary of Enforcement Actions: |
| Extent to which the MS4 system has been mapped: 100% |

SECTION III.B  Interconnections (Part IV.G.2.k and IV.G.2.l)

| Interconnection: | Date Found: | Location: | Connectee: | Originating Source: | Planned and Coordinated Efforts and Activities with Connectee: |
| --- | --- | --- | --- | --- | --- |
| None |  |  |  |  |  |

MINIMUM CONTROL MEASURE #4:

CONSTRUCTION SITE STORM WATER RUNOFF CONTROL  (Part IV.B.4 General Permit)

# SECTION I.	MEASURABLE GOALS:

NOTE: Report must be limited to activities implemented during the third year (calendar year 2006) of the program, which the permittee had listed as a measurable goal in the Storm Water Management Program Plan, or incomplete measurable goals that were required for calendar years 2004 and 2005.

Please Indicate:

If Construction Ordinance was adopted:									X  YES			( NO

If copy of ordinance or relevant portions were submitted with signed letter of City or Town Solicitor:	( YES			X  NO

(If you answered NO to the above, please include the required documents with this Annual Report.)

* Available upon Request (Policy in lieu of ordinance)

| A. REQUIRED MEASURABLE GOALS: |
| --- |
| Permit ID# | BMP ID | List Measurable Goal | Was goal met? ON- YES NO TRK | If not met briefly list reasons, current status, plans and new date for meeting the goal | TMDL? YES NO |
| IV.B.4.b.2 IV.B.4.b.4 |  | Review of 100% of plans and SWPPPs , and issuance of permits for construction projects > 1 acre not reviewed by other State Programs | X |  |  |  |  |  |
| IV.B.4.b.7 |  | Inspection of 100% of all construction projects within the regulated area that discharge or have the potential to discharge to the MS4. Enforcement of erosion and sediment control measures and other measures for control of waste at construction sites. | X |  |  |  |  |  |
| B. ADDITIONAL MEASURABLE GOALS: |
|  | 4A | Develop University Policies – Develop a Storm Water Erosion and Control Policy Regarding Construction Activities (1st Year) |  | X |  | Refer to the 2005 Annual report |  |  |
|  | 4B | Develop University Policies – Develop Methods for Issuing and Tracking Permits (1st Year) |  | X |  | Refer to the 2005 Annual report |  |  |
|  | 4C | Develop University Policies – Adopt and Implement Policies and Procedures (2nd Year) |  | X |  | Refer to the 2005 Annual report |  |  |

CONSTRUCTION SITE STORM WATER RUNOFF CONTROL cont’d

SECTION II.	OVERALL EVALUATION:

A. GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS: Include relevant information to the implementation of each measurable goal, such as, activities and audiences engaged. Discussion of activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for the activities chosen to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.)

IV.B.4.b.2 In lieu of permits for university construction projects, project reviews are performed by project managers from our Capital Projects Department as well as other affected departments at preconstruction review meetings. IV.B.4.b.4 Inspection of all construction projects are done by project managers designated for each project by the Director of Capital Projects. Also as part of the project specifications each contractor is responsible for all erosion control methods to conform to state standards and university standards as outlined in the SWMMP.

IV.B.4.b.7 There are two methods of inspection that are incorporated into the SWMPP construction plan. The primary method of inspection is through the Office of Capital Projects, and requires inspection by either the Engineer of Record or the Project Management Section, depending on the size and complexity of the project. The secondary method of inspection is under development and involves inspection by the SWMPP Committee. The Committee will participate in the design review, and will also have the ability to review the project under construction, and report any variations identified to the Project Manager for resolution.

Additional Measurable Goals and Activities

SECTION III. A  Plan and SWPPP Reviews

# of Construction Reviews completed: 5

Summary of Reviews and Findings: New Construction Dorm A - New Construction Dorm B - New Construction Dorm C - New Construction Hope Commons - New Construction Chi Phi Fraternity -

SECTION III.B  Erosion and Sediment Control Inspections (Part IV.G.2.n)

| # of Site Inspections: Generally every two weeks during the construction process by the project manager/Architect and Design Engineer | # of Complaints Received: 12 |
| --- | --- |
| # of Violations Issued: None | # of Unresolved Violations Referred to RIDEM: None |
| Summary of Enforcement Actions: Contractor was directed to correct the deficiency identified to reestablish proper erosion and sediment control to the satisfaction of the project manager. |

MINIMUM CONTROL MEASURE #5:

POST CONSTRUCTION STORM WATER MANAGEMENT IN NEW DEVELOPMENT AND REDEVELOPMENT

(Part IV.B.5 General Permit)

# SECTION I.	MEASURABLE GOALS:

NOTE: Report must be limited to activities implemented during the third year (calendar year 2006) of the program, which the permittee had listed as a measurable goal in the Storm Water Management Program Plan, or incomplete measurable goals that were required for calendar years 2004 and 2005.

Please Indicate:

If Post - Construction Ordinance was adopted:								X YES			( NO

If copy of ordinance or relevant portions were submitted with signed letter of City or Town Solicitor:	( YES			X NO

(If you answered NO to the above, please include the required documents with this Annual Report.)

* Available upon Request(Policy in lieu of ordinance)

| A. REQUIRED MEASURABLE GOALS: |
| --- |
| Permit ID# | BMP ID | List Measurable Goal | Was goal met? ON- YES NO TRK | If not met briefly list reasons, current status, plans and new date for meeting the goal | TMDL? YES NO |
| IV.B.5.b.4 |  | Review of 100% of plans for development projects one or more acres not reviewed by other State Programs | X |  |  |  |  |  |
| IV.B.5.b.10 |  | Post-construction inspections of BMPs and inspect 100% of all development > 1 acre within the regulated area that discharges to the MS4 | X |  |  |  |  |  |
| IV.B.5.b.12 |  | Identification of existing structural BMPs | X |  |  |  |  |  |
| B. ADDITIONAL MEASURABLE GOALS: |
|  | 5C | BMP Inspection and Maintenance – Review All Plans and Complete Site Inspections for Construction Projects (2nd – 5th Year) |  |  | X | The Lands & Grounds Dept. develops all BMP’s for the campus and reviews and inspects them on an annual basis. |  |  |

POST CONSTRUCTION STORM WATER MANAGEMENT IN NEW DEVELOPMENT AND REDEVELOPMENT cont’d

SECTION II.	OVERALL EVALUATION:

A. GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS: Include relevant information to the implementation of each measurable goal, such as, activities and audiences engaged. Discussion of activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for the activities chosen to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.)

IV.B.5.b.4 Site construction activity is reviewed within the Office of Capital Projects in two (2) separate venues. The first is the weekly construction management meeting and the identification of construction site issues, as described earlier. The second is the independent peer review of ongoing construction activities and the ability to question an activity on site which conflicts with the Long Range Storm Water Management Plan. The SWMPPP is reviewed by the Engineer of Record, or the PM, and the findings are integrated into the project design review described above. Although the Storm Water Management Plan is new, the essence is well known to the OCP staff and the project managers identify problems in site development and construction

IV.B.5.b.10 Post construction inspections are done on all projects by Capital Projects and the project managers. These inspections ensure that all measures specified in the contract are properly installed and operational. This inspection also involves Facilities Services personnel to ensure familiarity with storm water discharges locations and any new underground piping and basins that need to be inspected as part of the ongoing BMP’s of the SWMMP. The Lands & Grounds Dept. develops all BMP’s for the campus and reviews and inspects them on an annual basis.

IV.B.5.b.12 Storm water Management Committee reviews on an ongoing basis.

Additional Measurable Goals and Activities

SECTION III.A.  Plan and SWPPP Reviews

# of Post-Construction Reviews completed: 1

Summary of Reviews and Finding: The new EMS building completed in 2006. During the plan review it was noticed that the capacity of the proposed system was inadequate for the scope of the project and the project manager and engineers redesigned the system to the larger capacity. Site inspections showed all Storm Water Management measures were installed properly and are operational. The stormwater management for this building involves flow to the White Horn Brook through a series of underground drainage systems and open swales. There is also a detention basin installed to promote aquifer recharge from rain water from the foot print of the building discussed previously.

POST CONSTRUCTION STORM WATER MANAGEMENT IN NEW DEVELOPMENT AND REDEVELOPMENT cont’d

SECTION III.B.  Post Construction Inspections: Proper Installation of Structural BMPs (Part IV.G.2.o)

| # of Site Inspections: 1 | # of Complaints Received: 0 |
| --- | --- |
| # of Violations Issued: 0 | # of Unresolved Violations Referred to RIDEM: 0 |
| Summary of Enforcement Actions: None |

SECTION III.C.  Post Construction Inspections:  Proper Operation and Maintenance of Structural BMPs (Part IV.G.2.p)

| # of Site Inspections: 2/year/structure; Not recorded | # of Complaints Received: 0 |
| --- | --- |
| # of Violations Issued: 0 | # of Unresolved Violations Referred to RIDEM: 0 |
| Summary of Enforcement Actions: The units are all part of the URI system and managed by URI. |

MINIMUM CONTROL MEASURE #6:

POLLUTION PREVENTION AND GOOD HOUSEKEEPING IN MUNICIPAL OPERATIONS  (Part IV.B.6 General Permit)

# SECTION I.	MEASURABLE GOALS:

NOTE: Report must be limited to activities implemented during the third year (calendar year 2006) of the program, which the permittee had listed as a measurable goal in the Storm Water Management Program Plan, or incomplete measurable goals that were required for calendar years 2004 and 2005.

| A. REQUIRED MEASURABLE GOALS: |
| --- |
| Permit ID# | BMP ID | List Measurable Goal | Was goal met? ON- YES NO TRK | If not met briefly list reasons, current status, plans and new date for meeting the goal | TMDL? YES NO |
| IV.B.6.b.1.i |  | Identification, location and description all municipally owned structural BMPs | X |  |  |  |  |  |
| IV.B.6.b.1.ii |  | Inspection and cleaning BMPs | X |  |  |  |  |  |
| IV.B.6.b.1.iii |  | Annual catch basin inspection and cleaning program | X |  |  |  |  |  |
| IV.B.6.b.1.vi |  | Annual road sweeping of all streets and roads within the regulated area annually | X |  |  |  |  |  |
| IV.B.6.b.1.vii |  | Maintenance activities, schedules and long-term inspection for controls to reduce floatables | X |  |  |  |  |  |
| IV.B.6.b.4 |  | Activities implemented for O&M and good housekeeping of non-industrial facilities to minimize or eliminate pollutant runoff | X |  |  |  |  |  |
| B. ADDITIONAL MEASURABLE GOALS: |
|  | 6A | Operations and Maintenance Program – Develop Program (1st Year) |  | X |  | BMPs in place, formal program To be completed by the end of year 4. |  |  |
|  | 6B | Operations and Maintenance Program – Update Program (2nd – 5th Year) |  | X |  | BMPs in place, formal program To be completed by the end of year 4. |  |  |
|  | 6C | Catch Basin Cleaning Program – All Catch Basins Cleaned Annually (3rd – 5th Year) |  |  | X | # of catch basins cleaned annually is subject to available funds |  |  |
|  | 6E | Street Cleaning – Sweep All Roads Twice Per Year (3rd – 5th Year) | X |  |  | Roads actually get swept more than two times a year depending on the availablity of funds. |  |  |
|  | 6F | Street Cleaning – Sweep All Parking Lots on Campus (1st – 5th Year) | X |  |  |  |  |  |

POLLUTION PREVENTION AND GOOD HOUSEKEEPING IN MUNICIPAL OPERATIONS cont’d

SECTION II.  OVERALL EVALUATION:

A. GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS: Include relevant information to the implementation of each measurable goal, such as, activities and audiences engaged. Discussion of activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for the activities chosen to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.)

IV.B.6.b.1.i Discussion continues on the number of structural BMPs on campus, and on the method to determine the necessary frequency of cleaning

IV.B.6.b.1.ii . Areas such as long term retention basins do not need cleaning as frequent as most catch basins. Within the type (such as catch basins) some need cleaning more frequently than others. Many basins are inspected on a regular basis as part of the daily Grounds Crew routine, but others are inspected less frequently this does not seem to cause a problem.

IV.B.6.b.1.iii All catch basins are inspected annually by Facilities Services - Lands & Grounds Department. This is accomplished by a drive by inspection. Upon determination that a catch basin needs cleaning or repair a contractor is called in on an annual blanket. The number of catch basins actually cleaned and serviced is determined by fund availability.

IV.B.6.b.1.vi Road sweeping is performed multiple times during the year. This depends on weather , construction activities and general need. The least amount of road sweeping events is three with as many as six complete sweeping events per year if funding comes available.

IV.B.6.b.1.vii Increased efforts in litter control and pick up has been a very successful BMP in this area. Road sweeping frequency has also reduced sediment and debris flow into the basins.

IV.B.6.b.4 A Drainage master plan was completed in April 2006 by Joe Casali Engineering, Inc. This plan will be used to assess flow management and determine necessary projects to reduce erosion and better manage surface flow.

Additional Measurable Goals and Activities See above

POLLUTION PREVENTION AND GOOD HOUSEKEEPING IN MUNICIPAL OPERATIONS cont’d

SECTION III.A  Structural BMPs (Part IV.B.6.b.1.i)

| BMP ID: | Location: | Name of BMP Owner/Operator: | Description of BMP: |
| --- | --- | --- | --- |
|  | Butterfield Road | Lands & Grounds | Sedimentation Box (septic design with baffles) |
|  | Ryan’s Center | Global | Vortechnics system - Oil & Water separator |
|  | Plains Road and Dairy Barn Parking Lots | Land & Grounds | Porous Pavement system with below grade recharge bed. |

SECTION III.B  Discharges Causing Scouring or Excessive Sedimentation  (Part IV.B.6.b.1.v)

| Outfall ID: | Location: | Description of Problem: | Description of Remediation Taken, include dates: | Receiving Water Body Name/Description: |
| --- | --- | --- | --- | --- |
|  | Ballentine Pond | Sedimentation | Clean with backhoe | White Horn Brook |
|  | Roger Williams Pond | Sedimentation | Clean with backhoe | White Horn Brook |
|  | Ellery Pond | Sedimentation | Dredge with equipment | White Horn Brook |

SECTION III.C  Note any planned municipal construction projects/opportunities to incorporate water quality BMPs, low impact development, or activities to promote infiltration and recharge (Part IV.G.2.j).

The University has completed a draft Drainage Master Plan to identify the drainage flow within the watershed, and began the establishment of a Wetlands file tracking and inventory. This tool will be a key resource in the identification of potential impacts of site work within the campus. The development of a centralized Wetlands Application file is designed to track the preliminary design development of potential wetlands impact projects and to track the progress of that design development through permit application and construction. We intend to expand the utilization of the Storm Water Model to review planned construction in a longer range University Master Plan that will help guide construction, maintenance and future planning. The University continues to develop the Operations and Maintenance program. Operational reviews were initiated within the Office of Capital Projects with the incorporation of discussions with the project managers, with the communication outreach during design development as relating to storm water drainage and wetlands impacts, and the initiation of a wetlands file for all campus-wide activities.

SECTION III.D  Please include a summary of results of any other information that has been collected and analyzed. This includes any type of data

(Part IV.G.2.e).

TOTAL MAXIMUM DAILY LOAD (TMDL) or other Water Quality Determination REQUIREMENTS

SECTION I.  Please provide an assessment of the progress towards meeting the requirements for the control of storm water identified in an approved		        TMDL (Part IV.G.2.d).

##### RHODE ISLAND DEPARTMENT OF ENVIRONMENTAL MANAGEMENT

Office of Water Resources

INSTRUCTIONS FOR THE RI POLLUTANT DISCHARGE ELIMINATION SYSTEM (RIPDES)

SMALL MUNICIPAL SEPARATE STORM SEWER SYSTEMS AND INDUSTRIAL ACTIVITY AT ELIGIBLE FACILITIES OPERATED BY REGULATED SMALL MS4s

ANNUAL REPORT FORM

##### WHO MUST SUBMIT AN ANNUAL REPORT:

Owners/Operators of regulated small municipal separate storm sewer systems (MS4s) and industrial activities authorized to discharge storm water under the Rhode Island Pollutant Discharge Elimination System (RIPDES) Storm Water General Permit for Small Municipal Separate Storm Sewer Systems and Industrial Activity at Eligible Facilities Operated by Regulated Small MS4s, must submit an Annual Report, outlined in Part IV.G of the permit. The Report must be submitted each year after permit issuance by March 10th to track progress of compliance.  If you have questions regarding this Annual Report Form contact Margarita Chatterton of the Rhode Island Department of Environmental Management (RIDEM), Office of Water Resources, Permitting Section at (401) 222-4700 ext. 7605.

The Annual Report must be submitted to:

RIDEM

Office of Water Resources

RIPDES Program

Permitting Section

235 Promenade Street

Providence, RI 02908

ATTN: Margarita Chatterton

##### INSTRUCTIONS FOR COMPLETION:

GENERAL INFORMATION PAGE:

“RIPDES Permit #”

Include your permit ID # to ensure proper tracking.

“Reporting Period”

Please check the appropriate annual reporting period.

“Operator of MS4”

Give the legal name of the person, firm, public (municipal) organization, or any other entity that is responsible for day-to-day operations of the MS4 described in this application (RIPDES Rules 3 & 12). Enter the complete address and telephone number of the operator. Circle the appropriate choice to indicate the legal status of the operator of the MS4.

“Owner of MS4”

If the owner is the same as the operator do not complete this section. Give the legal name of the person, firm,

public (municipal) organization, or any other entity that owns the MS4 described in this application (RIPDES Rules 3 & 12). Do not use a colloquial name. Enter the complete address and telephone number of the owner.

“Certification”

State and federal statutes provide for severe penalties for submitting false information on this application form. State and federal regulations require this application to be signed as follows (RIPDES Rule 12);

For a corporation: by a responsible corporate officer, which means: (i) president, secretary, treasurer, or vice president of the corporation in charge of a principal business function, or any other person who performs similar policy or decision making functions, or (ii) the manager of one or more manufacturing, production, or operating facilities, provided the manager is authorized to make management decisions which govern the operation of the regulated facility including having the explicit or implicit duty of making major capital investment recommendations, and initiating and directing other comprehensive measures to assure long term environmental compliance with environmental laws and regulations; the manager can ensure that the necessary systems are established or actions taken to gather complete and accurate information or permit application requirements; and where authority to sign documentation has been assigned or delegated to the manager in accordance with cooperate procedures;

For a partnership or sole proprietorship: by a general

partner or the proprietor;

For a Municipality, State, Federal or other public site:

by either a principal executive officer or ranking elected official.

SECTION I- MEASURABLE GOALS:

One page, front and back, is provided to report on the status and effectiveness of measurable goals which have been developed to aid in the implementation of strategies, procedures, and programs used to achieve each of the six minimum control measures in Part IV.B of the General Permit. Please type or print in the appropriate areas only. If additional space is needed please submit attachments to the appropriate minimum control measure following the format provided.

Where indicated, please provide the status of the pertinent local ordinances and City or Town Solicitor’s letter.  If these documents have not previously been submitted to RIDEM, please include them with this Annual Report.

The first section entitled “Required Measurable Goals” includes mainly strategies, procedures, and programs, which MUST be developed/implemented by a specific year as mandated by the permit.

The second section entitled “Additional Measurable Goals” provides space to include your own MS4-specific measurable goals not prescribed in the permit (though noted in your Storm Water Management Program Plan), but are intended to aid in the implementation of strategies, procedures, and programs outlined in the permit to comply with each minimum measure.

Example: Public Education and Outreach

“Required Measurable Goals”- Sections IV.B.1.b.2 and IV.B.1.b.4 are considered “Required Measurable Goals” because strategies on how to inform the community on how to become involved in the storm water program and how operators will utilize partnerships, and strategies to list target pollutant sources MUST be developed within the first year.  These are considered “Required Measurable Goals” because the development of such strategies has a deadline.

“Additional Measurable Goals”- Any further establishment of deadlines, percentages, etc. used to aid the implementation of strategies, procedures, or programs are considered “Additional Measurable Goals.”  Examples may include: informing 70% of residents about proper fertilizer use; introduction of an ordinance to control pet waste by the end of the third year.  These would classify as “Additional Measurable Goals” because they are not prescribed by the permit but are fulfilling overall minimum measure requirements.

“Permit ID #”

The Permit ID # is the part of the permit where you can find a listing or description of the required measurable goal.

“BMP ID #”

The BMP ID # refers to the number assigned to a specific requirement or BMP and reported to the Department in the Storm Water Management Program Plan.

“List Measurable Goal”

A brief description of the measurable goal with the year it must be completed by in parentheses.

“Was Goal Met?”

(Check YES if…the goal was accomplished in its entirety on or before schedule.

(Check NO if…the goal was not met in its entirety on schedule.

(Check ON TRACK if…you are currently working to complete the goal on schedule.

“If not met…”

Complete this section only if you have checked NO or ON TRACK in the previous section.  If you have not met the measurable goal on time OR are on track with meeting the measurable goal on time, please provide a brief description as to why the goal has not been met, the current status of actions needed to meet the goal, any current plans, and the date you foresee the goal to be completed by. Please keep this section brief. Additional space is available on the reverse side to expand.

“TMDL”

Please note if the completion of this measurable goal will satisfy a remedial requirement of an approved TMDL. Please see Addendum A for additional requirements.

SECTION II- OVERALL EVALUATION:

This section provides narrative space for a more descriptive explanation and evaluation of the actions taken to satisfy each of the minimum control measures.

Please provide a general summary of actions taken (implementation of BMPs, development of procedures, events, etc.) to meet the measurable goals of the minimum measure.  Be sure to identify parties responsible for achieving each measurable goal and reference any reliance on another entity for achieving any measurable goal.

Describe whether each measurable goal was completed within the time proposed in the MS4 General Permit or your Storm Water Management Program Plan (SWMPP). Why or why not? Provide a progress report and discussion of activities that will be carried out during the next reporting cycle to satisfy the requirements of the minimum measures. If applicable, assess the appropriateness of the actions taken to meet the requirements of the minimum measure. In determining appropriateness, you may want to consider at a minimum the local population targeted, pollution sources addressed, receiving water concerns, integration with local management procedures, and available resources and violations or environmental impacts eliminated or minimized.

Also, discuss the effectiveness of the implementation of BMPs to meet the requirements of the minimum measure and the overall effectiveness of the minimum measure.  Describe your progress towards achieving the overall goal of reducing the discharge of pollutants.  Please include assessment parameters/indicators used to measure the success of the minimum measure. Also include a discussion of any proposed changes to BMPs or measurable goals.

After evaluation, it may be necessary to make changes or modifications to your Implementation Schedule if the time frame, appropriateness or effectiveness cannot be assured.  If so, please include descriptions of changes or modifications, and detailed justification in the appropriate sections.

SECTION III- ADDITIONAL ANNUAL REPORT REQUIREMENTS

Section III refers to additional reporting requirements that the MS4 General Permit is required to submit to the Department as part of the Annual Report. Section III requirements apply to Minimum Control Measures 2 through 6.

Minimum Control Measure #2: Section III:

Specify the date of and how the annual report was public noticed. If a public meeting was needed, provide the date and place. Include a summary of public comments received in the public comment period of the draft annual report and planned responses or changes to the program (new or revised BMP’s and measurable goals, partnerships, etc.). Be sure to attach a copy of your public notice (Part IV.G.2.h and IV.G.2.i).

Minimum Control Measure #3: Section III.A:

Provide the number of illicit discharges identified, complaints received, violations with a summary of enforcement actions, and unresolved violations that have been referred to RIDEM. Include a short narrative describing the extent to which your system has been mapped (Part IV.G.2.m).

Minimum Control Measure #3: Section III.B:

List location, date found, operator of the physically interconnected MS4, and originating source of newly identified physical interconnections with other small MS4s.  Also note any planned or coordinated activities with the physically interconnected MS4 (Part IV.G.2.k and IV.G.2.l).

Minimum Control Measure #4 & 5: Section III.A:

Identify the number of construction and post-construction plan and SWPPP reviews completed and any further information. This includes, but is not limited to a summary of the reviews, responsible parties, and types of projects reviewed.

Minimum Control Measure #4: Section III.B:

Construction inspection information for erosion and sediment control should be submitted annually as stated in Part IV.G.2.n.  Provide a summary of the number of site inspections conducted, inspections that have resulted in enforcement actions, violations that have been resolved and of those unresolved, referred to RIDEM.

Minimum Control Measure #5: Section III.B:

Post construction inspection information for proper installation of post construction structural BMPs should be submitted annually as stated in Part IV.G.2.o.  This should provide a summary of the number of site inspections conducted, inspections that have resulted in enforcement actions, violations that have been resolved and of those unresolved, referred to RIDEM.

Minimum Control Measure #5: Section III.C:

Inspection information for proper operation and maintenance of post construction structural BMPs should be submitted annually as stated in Part IV.G.2.p.  This should provide a summary of the number of site inspections conducted, inspections that have resulted in enforcement actions, violations that have been resolved and of those unresolved, referred to RIDEM.

Minimum Control Measure #6: Section III.A:

As prescribed in Part IV.B.6.b.1.i of the General Permit, the MS4 operator must identify and list the specific location and a description of all structural BMPs in the SWMPP at the time of application and update the information in the annual report.

Minimum Control Measure #6: Section III.B:

Part IV.B.6.b.1.v of the Permit states to identify and report annually, as part of the annual report, known discharges causing scouring at outfall pipes or outfalls with excessive sedimentation. Include Outfall ID #, location, description of the problem, any remediation taken, and the ultimate receiving water body.

Minimum Control Measure #6: Section III.C:

As noted in Part IV.G.2.j of the General Permit, specify any planned municipal construction projects or opportunities to include water quality BMPs, low impact development, or seek to promote infiltration and recharge.

Minimum Control Measure #6: Section III.D:

Please include a summary of results of any other information that has been collected and analyzed.  This includes any type of data, including, but not limited to, dry weather survey data (Part IV.G.2.e).

TOTAL MAXIMUM DAILY LOAD (TMDL) or other Water Quality Determination REQUIREMENTS

Section I:

Complete this section only if your MS4 is subject to an approved TMDL. TMDL requirements may require the implementation of the six minimum control measures to address the pollutants of concern, and/or additional structural storm water controls or measures that are necessary to meet the provisions of the approved TMDL. Be sure to identify the approved TMDL and assess the progress towards meeting the requirements for the control of storm water (Part IV.G.2.d).

Provide a progress report: present status and discussion of activities that will be carried out during the next reporting cycle to satisfy the requirements of the TMDL. If applicable assess the appropriateness of the BMPs selected under each of the six minimum control measures to meet the requirements of the TMDL. In determining appropriateness you may want to consider, violations or environmental impacts eliminated or minimized.

Please include assessment parameters/indicators that will be used to measure the success of the selected BMPs. Also include a discussion of any proposed changes to BMPs or measurable goals.

# Text boxes

X