DEM USE ONLY

Date Received 	____________

1

1

# RHODE ISLAND DEPARTMENT OF

# ENVIRONMENTAL MANAGEMENT

Office of Water Resources

# RIPDES SMALL MS4 ANNUAL REPORT

# GENERAL INFORMATION PAGE

RIPDES PERMIT # RIR100455

REPORTING PERIOD:		X  YEAR  4

Jan 07-Dec 07

## OPERATOR OF MS4

| Name: University of Rhode Island |
| --- |
| Mailing Address: Sherman Building 523 Plains Road |
| City: Kingston | State: RI | Zip: 02881 | Phone: ( 401 ) 874-5488 |
| Contact Person: Jerome Sidio | Title: Director, Facilities Services |
| Legal status (circle one): PRI - Private PUB - Public BPP - Public/Private STA - State FED – Federal Other (please specify): |

OWNER OF MS4 (if different from OPERATOR)

| Name: |
| --- |
| Mailing Address: |
| City: | State: | Zip: | Phone: ( ) |
| Contact Person: | Title: |

## CERTIFICATION

I certify under penalty of law that this document and all attachments were prepared under the direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, I certify that the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations. Print Name _____________________________________________________ Print Title _____________________________________________________ Signature _____________________________________________________ Date _____________

MINIMUM CONTROL MEASURE #1:

PUBLIC EDUCATION AND OUTREACH  (Part IV.B.1 General Permit)

# SECTION I.	MEASURABLE GOALS:     (For shaded areas, please provide descriptions of ongoing activity in SECTION II.)

| A. REQUIRED MEASURABLE GOALS: |
| --- |
| Permit ID# | BMP ID | List Measurable Goal | Date(s) Completed | If goal was NOT met, briefly list reasons, current status, plans and new date for meeting the goal |
| IV.B.1.b.1 |  | Implementation of activities undertaken to educate the community about storm water issues. (ONGOING) |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.1.b.2 |  | Implementation of public education activities to involve the community in the storm water program (indicate if activities were undertaken by permittee or other entities) (ONGOING) |  | PLEASE COMPLETE UNDER SECTION II. |
| B. ADDITIONAL MEASURABLE GOALS: |
|  |  | Commitment to the Stormwater Education and Outreach Program through URI NEMO (OPTIONAL - DUE MARCH 2007) | April 2007 | Enrolled in April, 2007 |
|  |  | Attendance at the following trainings: ( 4/24/2007 Making an Impact with LID ( 5/10/2007 TR-55 for Plan Reviewers ( 12/12/2007 DPW Employee Training | 4/24/07 12/12/07 | List name(s) of attendee(s) at each training: Dave Lamb and Jerome Sidio Dave Lamb |

SECTION II.	OVERALL EVALUATION:

GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS: Include information relevant to the implementation of each measurable goal, such as activities, topics addressed, audiences and pollutants targeted. Discuss activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for choosing the education activity to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.)

IV.B.1.b.1 The University of Rhode Island’s Cooperative Extension has developed a program for education of the public and providing outreach materials. The Storm Water Management Resource Center website was established to act as an informational hub for members as well as for the general public to visit for information and updates to the progress of the project. The website currently contains information that is specific to the project, including meeting information, advisory committee membership, local committee membership, and the general goals of the project. As this site is updated in the future, it is envisioned that the site will offer a “toolbox” containing information for any Rhode Island municipality, seeking to further public education, outreach, and involvement in the issues of storm water pollution. In addition to the Storm Water Management Resource Center website, the URI Cooperative Extension has also developed a website for the Rhode Island Non-Point Education for Municipal Officials (NEMO). This goal of this program is to provide local land use decision makers with the skills and resources needed to identify pollution problems, assess impacts to local water resources, and adapt effective pollution controls. The University has joined in these projects and will actively take part in the development and implementation of education and outreach in its community.

IV.B.1.b.2The University of Rhode Island Facility Services Dept. has continued to meet with the local student environmental club to develop a plan to increase community awareness in the program using information developed by the Cooperative Extension.

Additional Measurable Goals and Activities In 2007, the University of Rhode Island Cooperative Extension, through the RI NEMO program, held three workshops (previously listed in section IB) aimed at educating the participating MS4’s and community regarding local storm water management and training for specific groups such as the DPW personnel on Storm Water Management. Also the University through RI Nemo and the URI Cooperative extension participated and helped organize the Storm Water Advisory Committee meeting held September 28, 2007 at RIDEM.

MINIMUM CONTROL MEASURE #2:

PUBLIC INVOLVEMENT/PARTICIPATION  (Part IV.B.2 General Permit)

# SECTION I.	MEASURABLE GOALS:	(For shaded areas, please provide descriptions of ongoing activity in SECTION II.)

| A. REQUIRED MEASURABLE GOALS: |
| --- |
| Permit ID# | BMP ID | List Measurable Goal | Date(s) Completed | If goal was NOT met, briefly list reasons, current status, plans and new date for meeting the goal |
| IV.B.2.b.2.ii |  | Implementation of public involvement activities and description of groups engaged (ONGOING) |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.2.b.2.iii |  | Public notice of the draft annual report and provide the opportunity for public comment (ANNUALLY) | April 2007 | The plan and annual report was posted on the URI Facilities Services Website. |
| B. ADDITIONAL MEASURABLE GOALS: |
|  | 2A | Stream cleanup and monitoring programs Organize one cleanup event (1st – 5th Years) | Ongoing each May | Spring cleanup event was conducted as part of an annual cleanup organized by the Facilities Lands and Grounds personnel. |
|  | 2B | Stencil Storm Drains – Stencil 25% of URI’s storm drains (2nd Year) |  | A student environmental group had been recruited to perform this task. The group has changed and the focus has now turned to the URI Cooperative extension and the development of its program. |
|  | 2C | Stencil Storm Drains – Stencil 50% of URI’s storm drains (3rd Year) |  | See 2D |
|  | 2D | Stencil Storm Drains – Stencil 100% of URI’s storm drains (4th Year) |  | The URI Cooperative extension is assisting with the development of a program where students as part of the freshman requirement for community service have as a task to update and maintain the markings for the storm drains on campus. This will be an ongoing program. |
|  | 2E | University Storm Water Committee – Establish the Committee, Hold Required Meetings) | 2005 Annual Report | Committee was established. |
|  | 2F | University Storm Water Committee – Hold Quarterly Meetings (2nd – 5th Years) |  | URI’s RI NEMO program and the URI Cooperative extension has held various training sessions and meetings to further solidify compliance with this requirement. Campus personnel are require to attend and participate. |
|  | 2G | Pet Waste Collection – Design Signs for Common Areas (2nd Year) | 2005 Annual Report | Activity was implemented. |
|  | 2H | Pet Waste Collection – Post Signs (3rd Year) | 2006 Annual Report | Activity was implemented. |

SECTION II.	OVERALL EVALUATION:

GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS: Include information relevant to the implementation of each measurable goal, such as types of activities and audiences/groups engaged. Discuss activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for the activities chosen to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.)

IV.B.2.b.2.ii ii However we have been using the extensive resources available at the university. We have been able to work with the Cooperative Extension to further the public outreach efforts and have committed to participate in the Storm Water Education and Outreach Program to further enhance our ability to be as effective as possible. In addition we have met with the student environmental club and have solicited their help with the stenciling of the storm drains as well as assisting us with the promotion of responsible behavior regarding protection of the streams and watershed within the student population.

IV.B.2.b.2.iii The annual report was posted on the University’s Facilities Services website page.

Additional Measurable Goals and Activities 2A: Each year usually in the Spring our Lands & Grounds Dept. organizes a cleanup that covers various areas of the campus specifically designed to use volunteer help from organizations such as Fraternities & Sororities as well as Athletic Clubs looking for community service hours. This has been most effective in cleaning areas that surround White Horn Brook and Ellery Pond. 2B, 2C, 2D See above reference to the Environmental Club’s assistance 2H: Pet waste collection signage has been installed on the Narragansett Bay Campus, the athletic fields have been posted, we expect to expand the signage to include the Flagg Road area where pet owners have been observed walking. University does not allow pets to be kept on the premises and the amount of pet activity is small.

SECTION III.  Public Notice Information  (IV.G.2.h and IV.G.2.i)   *Note: attach copy of public notice

| Date of Public Notice: | How public was notified: Website |
| --- | --- |
| Was public meeting held? YES NO Date: Not set. Where: Sherman Building 523 Plains Road, Kingston RI |
| Summary of public comments received: None |
| Planned responses or changes to the program: None at this time. |

MINIMUM CONTROL MEASURE #3:

ILLICIT DISCHARGE DETECTION AND ELIMINATION  (Part IV.B.3 General Permit)

# SECTION I.	MEASURABLE GOALS:	(For shaded areas, please provide descriptions of ongoing activity in SECTION II.)

| A. REQUIRED MEASURABLE GOALS: |
| --- |
| Permit ID# | BMP ID | List Measurable Goal | Date(s) Completed | Date Submitted to RIDEM | Name of document used to submit info to RIDEM and where it can be found in that document. If goal was NOT met, briefly list reasons, current status, plans and new date for meeting the goal. |
| IV.B.3.b.1 |  | Development of an outfall map showing the location of all outfalls and names of receiving waters (DUE YEAR 3) | April 2006 | 2006 Annual Report | In 2004, we developed a base map with all inflows and outfalls, and were confirmed under the present Drainage Master Plan. |
| IV.B.3.b.2 |  | Tagging outfall pipes if GIS maps are not being developed (OPTIONAL ACTIVITY) |  |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.3.b.3 |  | Recording of additional elements, such as location of catch basins, manholes and pipes, on an on-going basis. (ONGOING) |  |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.3.b.4 |  | Adoption of Ordinance to prohibit and enforce illicit discharges into the MS4 (DUE YEAR 2) |  |  | URI is not a municipality, but local policies, to include the Spill Prevention Control and Containment Plan (SPCC) are in place that prohibits illicit discharges, and inspections are conducted at potential source areas, such as the vehicle maintenance shop, by both Facilities Services staff and S&RM. |
|  |  | Signed Letter from City or Town Solicitor (DUE YEAR 2) |  |  |  |
| IV.B.3.b.5.ii, iii, iv, & v |  | Implement procedures for the receipt and consideration of complaints, tracing the source of an illicit discharge, removing the source of the illicit discharge, and evaluating and assessing the program (ONGOING) |  |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.3.b.5.vi |  | Inspection of all catch basins and manholes for illicit connections and non-storm water discharges (DUE YEAR 4) |  |  | Inspections are performed on a regular basis by our Lands & Grounds Department and basins are cleaned as needed by an outside firm that specializes in the cleaning of storm water catch basins. After the material is removed from the catch basins it is stock piled in an upland location, and then analyzed and tested for any hazardous materials. |
| IV.B.3.b.5.vii |  | Completion of two dry weather surveys, one between Jan 1st and April 30th and one between July 1st and Oct 31st. (Sanitary sewers- bacteria sampling is only required once between July 1st and Oct 31st) (DUE YEAR 4) |  |  | URI’s Stormwater System has continuous flow due to ground water infiltration because of high ground water all times of the year. We have scheduled ESS Labs to sample during these periods in 2008 in order to comply. |
| IV.B.3.b.7 |  | Implementation of coordinating activities with physically interconnected MS4s, including state and federal owned or operated MS4s, when illicit discharges are detected or reported (ONGOING) |  |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.3.b.8 |  | Implementation of referral to RIDEM of non-storm water discharges not authorized by this permit or a pre-existing permit (ONGOING) |  |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.3.b.9 |  | Education of public employees, businesses, and the general public of hazards associated with illicit discharges and improper disposal of waste as well as allowable non-stormwater discharges found to be significant contributors of pollutants to the MS4. (ONGOING) |  |  | PLEASE COMPLETE UNDER SECTION II. |
| B. ADDITIONAL MEASURABLE GOALS: |

SECTION II.  OVERALL EVALUATION:

GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS Include information relevant to the implementation of each measurable goal, such as activities implemented (when reporting tracked and eliminated illicit discharges, please explain the rationale for targeting the illicit discharge) to comply with on-going requirements, and illicit discharge public education activities, audiences and pollutants targeted. Discuss activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for the activities chosen to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.)

IV.B.3.b.1 1 Several years ago we developed a base map with all inflows and outfalls, and the inflows and outfalls were confirmed under the present Drainage Master Plan contract. Several new inflows will be developed over the next several years as a result of new construction, and these inflows will be added to the map as they are developed. The system is not GIS, but this will also be completed through a mapping program over the next four years.

IV.B.3.b.2 GIS Mapping is being developed in conjunction with the mapping of our community water system.

IV.B.3.b.3 Completed during the development of the URI Storm Water Drainage Master Plan in 2006.

IV.B.3.b.4 URI is not a municipality, but local policies, to include the Spill Prevention Control and Containment Plan (SPCC) are in place that prohibits illicit discharges, and inspections are conducted at potential source areas, such as the vehicle maintenance shop, by both Facilities Services staff and S&RM. Testing is coordinated by Facilities Services and performed bi-annually by local laboratories to identify any illicit discharges into the waste stream. These inspections are being expanded this year to include the storm water system. Additionally, an annual inspection is conducted with the Town of South Kingstown for potential illicit discharges into the sanitary and storm system

IV.B.3.b.5.ii, iii, iv, & v vi Inspections are performed on a regular basis by our Lands & Grounds Department and basins are cleaned as needed by an outside firm that specializes in the cleaning of storm water catch basins. Material removed from the catch basins is stock piled at a designated storage location, where it is analyzed and tested for any hazardous materials; this analysis is performed annually before the material is disposed.

IV.B.3.b.5.vi Inspections are performed on a regular basis by our Lands & Grounds Department and basins are cleaned as needed by an outside firm that specializes in the cleaning of storm water catch basins. Material removed from the catch basins is stock piled at a designated storage location, where it is analyzed and tested for any hazardous materials; this analysis is performed annually before the material is disposed.

IV.B.3.b.5.vii URI’s Stormwater System has continuous flow due to ground water infiltration because of high ground water all times of the year. We will attempt a dry weather survey and record results, however the continuous flow in the majority of our stormwater system may make it difficult to observe any changes other than volume of water moving through the system.

IV.B.3.b.7 No physical interconnections exist between other municipalities.

IV.B.3.b.8 The University is currently developing a procedure to notify RIDEM of non-storm water discharges not authorized by this permit.

IV.B.3.b.9 S&RM teaches the annually required HAZCOM and hazardous waste classes, and we instruct all those trained to report all environmental problems and/or discharges.

Additional Measurable Goals and Activities

SECTION III.A  Other Reporting Requirements - Illicit Discharge Inspections to Date (Part IV.G.2.m)

| Total Illicit Discharges Identified: None | Total Illicit Discharges Tracked: None |
| --- | --- |
| Total Illicit Discharges Eliminated: None | # of Complaints Received: None |
| # of Violations Issued: None | # of Unresolved Violations Referred to RIDEM: None |
| Summary of Enforcement Actions: None |
| Extent to which the MS4 system has been mapped: 100% |

SECTION III.B  Interconnections (Part IV.G.2.k and IV.G.2.l)

| Interconnection: | Date Found: | Location: | Connectee: | Originating Source: | Planned and Coordinated Efforts and Activities with Connectee: |
| --- | --- | --- | --- | --- | --- |
| None |  |  |  |  |  |

MINIMUM CONTROL MEASURE #4:

CONSTRUCTION SITE STORM WATER RUNOFF CONTROL  (Part IV.B.4 General Permit)

# SECTION I.	MEASURABLE GOALS:	(For shaded areas, please provide descriptions of ongoing activity in SECTION II.)

| A. REQUIRED MEASURABLE GOALS: |
| --- |
| Permit ID# | BMP ID | List Measurable Goal | Date(s) Completed | Date Submitted to RIDEM | Name of document used to submit info to RIDEM and where it can be found in that document. If goal was NOT met, briefly list reasons, current status, plans and new date for meeting the goal. |
| IV.B.4.b.1 |  | Adoption of Ordinance to require erosion and sediment control, control of other wastes, and sanctions to ensure compliance (DUE YEAR 2) | 2005 | 2005 Annual Report | The current system of managing the SWMPP through the General Plans and Specifications is working. The requirements are clearly defined and legally enforceable. The remedies are standard elements of the purchasing process and well defined by contract law. However, additional efforts will be made to inspect and enforce erosion control measures. |
|  |  | Signed Letter from City or Town Solicitor (DUE YEAR 2) |  |  | Capital Projects requirement in project specifications. |
| IV.B.4.b.2 IV.B.4.b.4 |  | Review of 100% of plans and SWPPPs, issuance and tracking of permits for construction projects > 1 acre not reviewed by other State Programs (ONGOING) |  |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.4.b.6 |  | Implementation of procedures to receive and consider information from the public (if relevant.) (ONGOING) |  |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.4.b.7 |  | Inspection of 100% of all construction projects within the regulated area that discharge or have the potential to discharge to the MS4. Enforcement of erosion and sediment control measures and other measures for control of waste at construction sites. (ONGOING) |  |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.4.b.8 |  | Implementation of procedures for referral to the State of non-compliant construction site operators (ONGOING) |  |  | PLEASE COMPLETE UNDER SECTION II. |
| B. ADDITIONAL MEASURABLE GOALS: |

SECTION II.	OVERALL EVALUATION:

GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS: Include information relevant to the implementation of each measurable goal, such as activities implemented to support the review, issuance and tracking of permits, inspections and receipt of complaints. Discuss activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for the activities chosen to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.)

IV.B.4.b.1 The current system of managing the SWMPP through the General Plans and Specifications is working. The requirements are clearly defined and legally enforceable. The remedies are standard elements of the purchasing process and well defined by contract law. However, additional efforts will be made to inspect and enforce erosion control measures.

IV.B.4.b.2 In lieu of permits for university construction projects, project reviews are performed by project managers from our Capital Projects Department as well as other affected departments at preconstruction review meetings. IV.B.4.b.4 Project managers designated for each project by the Director of Capital Projects do inspection of all construction projects. Also as part of the project specifications each contractor is responsible for all erosion control methods to conform to state standards and university standards as outlined in the SWMMP.

IV.B.4.b.6 Implementation of procedures to receive and consider information from the public is recorded and then evaluated by University personnel.

IV.B.4.b.7 There are two methods of inspection that are incorporated into the SWMPP construction plan. The primary method of inspection is through the Office of Capital Projects, and requires inspection by either the Engineer of Record or the Project Management Section, depending on the size and complexity of the project. The secondary method of inspection is under development and involves inspection by the SWMPP Committee. The Committee will participate in the design review, and will also have the ability to review the project under construction, and report any variations identified to the Project Manager for resolution.

IV.B.4.b.8 There has been some incidental contact to the Office of Capital Projects over the past year and those notices have resulted in corrective action from the contractor. There are no incidents where a contractor has failed to take corrective action when presented with a concern on compliance to the SWMPP.

Additional Measurable Goals and Activities

SECTION III. A  Plan and SWPPP Reviews during Year 4 (2007)

# of Construction Reviews completed: 5

Summary of Reviews and Findings: Little Four Housing Renovation and Hope Dining Hall Construction (Same area of activity) - Project is 99% complete, No Violations, No Complaints. Normal procedures took place to control storm water runoff such as silt fences and hay bales. In addition construction of a collection basin and a three staged filtration and sedimentation process was developed by Pare Engineering for the site, this minimized sediment impact on the out flow of any site drainage. New Construction – Biological/Science Building - Project is ongoing and in full compliance with the approved RIDES plan submitted for the project. No complaints or violations have been issued. Regular daily/weekly inspections of the storm water management system take place and additional inspections are performed during and following a rain event. During the early stages of site construction a sedimentation settling tank was incorporated mainly for ground water but also doubled as a storm water filtration system for discharge of surface water into the drainage system. Renovation Lippett Hall - Small building renovation project with normal containment procedures undertaken where necessary for storm water control such as hay bales, silt fence and cement curbing to keep storm water impact minimized on site. Renovation Tyler Hall – Building renovation project with normal containment procedures undertaken when and where necessary for storm water control such as hay bales and cement curbing to keep storm water impact minimized on site. New Construction Electrical Substation No. 4 – Project began late in year. No Violations, No Complaints regarding storm water control. Reviewed normal procedures to be implemented to control storm water runoff such as silt fences, hay bales and the addition of crushed stone to prevent surface erosion. Any impact will be reported in 2008.

SECTION III.B  Erosion and Sediment Control Inspections during Year 4 (2007) (Part IV.G.2.n)

| # of Site Inspections: Generally every week during the construction process by the project manager/Architect and Design Engineer. In addition inspections occurred when ever a storm event took place to remedy any issues that may have come up. | # of Complaints Received: None |
| --- | --- |
| # of Violations Issued: None | # of Unresolved Violations Referred to RIDEM: None |
| Summary of Enforcement Actions: |

MINIMUM CONTROL MEASURE #5:

POST CONSTRUCTION STORM WATER MANAGEMENT IN NEW DEVELOPMENT AND REDEVELOPMENT

(Part IV.B.5 General Permit)

# SECTION I.	MEASURABLE GOALS:	(For shaded areas, please provide descriptions of ongoing activity in SECTION II.)

| A. REQUIRED MEASURABLE GOALS: |
| --- |
| Permit ID# | BMP ID | List Measurable Goal | Date(s) Completed | Date Submitted to RIDEM | Name of document used to submit info to RIDEM and where it can be found in that document. If goal was NOT met, briefly list reasons, current status, plans and new date for meeting the goal. |
| IV.B.5.b.4 |  | Review of 100% of plans for development projects one or more acres not reviewed by other State Programs (ONGOING) |  |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.5.b.5 |  | Coordination with existing State programs requiring post-construction storm water management (ONGOING) |  |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.5.b.6 |  | Implementation of referral to the State of new discharges of storm water associated with industrial activity (ONGOING) |  |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.5.b.9 |  | Adoption of Ordinance to address post-construction runoff from new development and redevelopment (DUE YEAR 2) |  |  | Construction contracts are used to monitor post construction runoff. |
|  |  | Signed Letter from City or Town Solicitor (DUE YEAR 2) |  |  | Construction contracts are used to monitor post construction runoff. |
| IV.B.5.b.10 |  | Post-construction inspections of BMPs and inspect 100% of all development > 1 acre within the regulated area that discharges to the MS4 (ONGOING) |  |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.5.b.11 |  | Implementation of how long-term O&M of selected BMPs for new and re-development will be identified, tracked and enforced (ONGOING) |  |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.5.b.12 |  | Identification of existing structural BMPs (ONGOING) |  |  | PLEASE COMPLETE UNDER SECTION II. |
| B. ADDITIONAL MEASURABLE GOALS: |

SECTION II.	OVERALL EVALUATION:

GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS: Include information relevant to the implementation of each measurable goal, such as activities implemented to support the review, issuance and tracking of permits, inspections and receipt of complaints, etc. Please indicate if any projects have incorporated the use of Low Impact Development techniques. Discuss activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for the activities chosen to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.)

IV.B.5.b.4 The primary mechanism to control contract work is through the General Plans and Specifications of the University. Division 2, Site Construction, requires erosion and sediment control, and control of other wastes. Failure to comply results in a breach of contract and is dealt with according to contract law. Within the Office of Capital Projects a weekly Staff Meeting is held wherein projects are reviewed to include erosion and sediment control issues. Each Project Manager is reminded to include inspections for compliance with erosion and sediment control issues. In specific situations contractors have been directed to improve or re-establish control measures required in the specifications.

IV.B.5.b.5 URI does not rely on State Program reviews of construction activity, but conducts reviews within the Office of Capital Projects as outlined above. Site construction activity is reviewed within the Office of Capital Projects in two (2) separate venues. The first is the weekly construction management meeting and the identification of construction site issues, as described earlier. The second is the independent peer reviews of ongoing construction activities and the ability to question an activity on site which conflicts with the Long Range Storm Water Management Plan. The Engineer of Record, or the PM reviews the SWMPPP, and the findings are integrated into the project design review described above. Although the Storm Water Management Plan is new, the essence is well known to the OCP staff and the project managers identify problems in site development and construction

IV.B.5.b.6 New discharges associated with industrial activity will be reviewed by the Facilities Group at the time of construction, and compliance with regulatory guidelines, and maintenance and operations procedures, will be verified at that time

IV.B.5.b.9 Construction contracts are used to monitor post construction runoff.

IV.B.5.b.10 Capital Projects and the project managers do post construction inspections on all projects. These inspections ensure that all measures specified in the contract are properly installed and operational. This inspection also involves Facilities Services personnel to ensure familiarity with storm water discharges locations and any new underground piping and basins that need to be inspected as part of the ongoing BMP’s of the SWMMP. The Lands & Grounds Dept. develops all BMP’s for the campus and reviews and inspects them on an annual basis.

IV.B.5.b.11 BMPs for new work and for re-development will be identified at the start of construction and will be added to the list of BMP’s developed under the URI Drainage Master Plan and its associated maintenance schedule.

IV.B.5.b.12 The Utility, Lands & Grounds and Capital Projects departments review on an ongoing basis to determine improvements to storm water control.

Additional Measurable Goals and Activities

SECTION III.A.  Plan and SWPPP Reviews during Year 4 (2007)

# of Post-Construction Reviews completed: 2

Summary of Reviews and Finding: Dorm A, B and C Construction – All three dorm projects were completed in 2007. Gilbane managed all RIPDES requirements regarding storm water management. During the project, due to the considerable site excavation, Gilbane provided very close management of site runoff with daily/weekly site inspections. Additional inspections took place after and during significant rain events. Final review of the project revealed improvements as the project matured. Ability to react and make corrections improved as the project continued. Curbing and landscaping offered significant improvements in directing storm water flow and minimizing erosion. International Engineering Building ( Renovation of the Chi Phi Fraternity) – Standard erosion control methods were used, minimal impact on surround area. Outdoor portion of project was mainly for plantings and landscaping improvements. Very little slope to the property so runoff was minimized. Upgrading the gutter system on the building reduced any impact of this type of water flow on the site.

SECTION III.B.  Post Construction Inspections during Year 4 (2007): Proper Installation of Structural BMPs (Part IV.G.2.o)

| # of Site Inspections: 2 | # of Complaints Received: 0 |
| --- | --- |
| # of Violations Issued: 0 | # of Unresolved Violations Referred to RIDEM: 0 |
| Summary of Enforcement Actions: None |

SECTION III.C.  Post Construction Inspections during Year 4 (2007):  Proper Operation and Maintenance of Structural BMPs (Part IV.G.2.p)

| # of Site Inspections: 2 | # of Complaints Received: 0 |
| --- | --- |
| # of Violations Issued: 0 | # of Unresolved Violations Referred to RIDEM: 0 |
| Summary of Enforcement Actions: The projects are all part of the URI system and managed by URI. |

MINIMUM CONTROL MEASURE #6:

POLLUTION PREVENTION AND GOOD HOUSEKEEPING IN MUNICIPAL OPERATIONS  (Part IV.B.6 General Permit)

# SECTION I.	MEASURABLE GOALS:	(For shaded areas, please provide descriptions of ongoing activity in SECTION II.)

| A. REQUIRED MEASURABLE GOALS: |
| --- |
| Permit ID# | BMP ID | List Measurable Goal | Date(s) Completed | If goal was NOT met, briefly list reasons, current status, plans and new date for meeting the goal |
| IV.B.6.b.1.i |  | Identification, location and description of all municipally owned structural BMPs (ONGOING) |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.6.b.1.ii |  | Inspection and cleaning BMPs (ONGOING) |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.6.b.1.iii |  | Annual catch basin inspection and cleaning program (ANNUALLY) | Ongoing Periodic | All catch basins are inspected annually by Facilities Services - Lands & Grounds Department. This is accomplished by a drive by inspection. Upon determination that a catch basin needs cleaning or repair a contractor is called in on an annual blanket. The number of catch basins actually cleaned and serviced is determined by fund availability. |
| IV.B.6.b.1.iv |  | Minimize erosion of road side shoulders and ditches by requiring stabilization of those areas (ONGOING) |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.6.b.1.v |  | Identify and report annually the known discharges causing scouring at outfall pipes or outfalls with excessive sedimentation and a description of all corrective actions (ONGOING / ANNUALLY) |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.6.b.1.vi |  | Annual road sweeping of all streets and roads within the regulated area annually (ANNUALLY) | Ongoing as needed | Road sweeping is performed multiple times during the year. This depends on weather, construction activities and general need. The least amount of road sweeping events is three with as many as six complete sweeping events per year if funding comes available. |
| IV.B.6.b.1.vii |  | Maintenance activities, schedules and long-term inspection for controls to reduce floatables (ONGOING) |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.6.b.1.viii |  | Proper disposal of removed waste from the MS4 (ONGOING) |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.6.b.4 |  | Municipally owned non-Industrial facilities must develop and implement BMPs for O& M and Good Housekeeping, as well as corrective actions designed to eliminate and/or minimize the discharge of pollutants to waters of the State (DUE YEAR 4) | April 2006 | Joe Casali Engineering, Inc completed a Drainage Master Plan in April 2006. This plan will be used to assess flow management and determine necessary projects to reduce erosion and better manage surface flow. Maintenance requirements for the BMP’s were also provided. |
| IV.B.6.b.5 |  | Reporting and tracking of inspections, comprehensive site evaluations, corrective actions implemented and scheduled improvements to minimize the discharge of pollutants at industrial facilities owned and operated by the municipality (ONGOING) |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.6.b.6 |  | Implementation of employee training programs that will be used to prevent and reduce storm water pollution (ONGOING) |  | PLEASE COMPLETE UNDER SECTION II. |
| IV.B.6.b.7 |  | Implementation of procedures for assessing potential water quality impacts to existing and new flow management projects (ONGOING) |  | PLEASE COMPLETE UNDER SECTION II. |
| B. ADDITIONAL MEASURABLE GOALS: |
|  | 6A | Operations and Maintenance Program – Develop Program (1st Year) | 2005 | BMPs in place, formal program is in place. |
|  | 6B | Operations and Maintenance Program – Update Program (2nd – 5th Year) | 2005/2006 | BMPs in place, formal program is in place. |
|  | 6C | Catch Basin Cleaning Program – All Catch Basins Cleaned Annually (3rd – 5th Year) | Ongoing | BMPs in place, formal program is in place. |
|  | 6D | Street Cleaning – Sweep All Roads Once Per Year (1st – 2nd Year) | 2005/2006 | BMPs in place, formal program is in place. |
|  | 6E | Street Cleaning – Sweep All Roads Twice Per Year (3rd – 5th Year) | Ongoing | BMPs in place, formal program is in place. |
|  | 6F | Street Cleaning – Sweep All Parking Lots on Campus (1st – 5th Year) | Ongoing | BMPs in place, formal program is in place. |

SECTION II.  OVERALL EVALUATION:

GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS: Include information relevant to the implementation of each measurable goal, such as activities and practices used to address on-going requirements. Discuss activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for the activities chosen to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.)

IV.B.6.b.1.i The number of structural BMPs on campus were identified in the Drainage Master Plan of 2006 developed by JCE Inc., and the necessary frequency of cleaning was provided.

IV.B.6.b.1.ii. Areas such as long-term retention basins do not need cleaning as frequent as most catch basins. Within the type (such as catch basins) some need cleaning more frequently than others. Many basins are inspected on a regular basis as part of the daily Grounds Crew routine, but others are inspected less frequently this does not seem to cause a problem.

IV.B.6.b.1.iii All catch basins are inspected annually by Facilities Services - Lands & Grounds Department. This is accomplished by a drive by inspection. Upon determination that a catch basin needs cleaning or repair a contractor is called in on an annual blanket. The number of catch basins actually cleaned and serviced is determined by fund availability.

IV.B.6.b.1.iv Erosion control on road edges is addressed in numerous locations by concrete curbing. Other techniques have not been effective as the campus is located on a hillside with high volume run-off down the hill. Other methods of using either a swale or gulley to channel the water are used where they are able to maintain the high flows.

IV.B.6.b.1.v The Drainage Master Plan is being used to assess flow management and determine necessary projects to reduce erosion.

IV.B.6.b.1.vi Road sweeping is performed multiple times during the year. This depends on weather, construction activities and general need. The least amount of road sweeping events is three with as many as six complete sweeping events per year if funding comes available.

IV.B.6.b.1.vii Increased efforts in litter control and pick up has been a very successful BMP in this area. Road sweeping frequency has also reduced sediment and debris flow into the basins.

IV.B.6.b.1.viii Material in the catch basins when it is removed and stock piled, is analyzed and tested for any hazardous materials, this analysis is performed annually before the material is disposed.

IV.B.6.b.4 Joe Casali Engineering, Inc completed a Drainage Master Plan in April 2006. This plan will be used to assess flow management and determine necessary projects to reduce erosion and better manage surface flow. Maintenance requirements for the BMP’s were also provided.

IV.B.6.b.5 The University is developing a tracking program to coordinate and record the reporting and tracking of inspections, comprehensive site evaluations, corrective actions implemented and scheduled improvements to minimize the discharge of pollutants at industrial facilities owned and operated.

IV.B.6.b.6 The University is currently developing employee training programs that will be used to prevent and reduce storm water pollution.

IV.B.6.b.7 The implementation of procedures for assessing potential water quality impacts to existing and new flow management projects will be developed during the 2008 calendar year.

Additional Measurable Goals and Activities

SECTION III.A  Structural BMPs (Part IV.B.6.b.1.i)

| BMP ID: | Location: | Name of BMP Owner/Operator: | Description of BMP: |
| --- | --- | --- | --- |
|  | Butterfield Road | Lands & Grounds | Sedimentation Box (septic design with baffles) |
|  | Ryan’s Center | Global | Vortechnics system - Oil & Water separator |
|  | Plains Road and Dairy Barn Parking Lots | Land & Grounds | Porous Pavement system with below grade recharge bed. |

SECTION III.B  Discharges Causing Scouring or Excessive Sedimentation  (Part IV.B.6.b.1.v)

| Outfall ID: | Location: | Description of Problem: | Description of Remediation Taken, include dates: | Receiving Water Body Name/Description: |
| --- | --- | --- | --- | --- |
|  | Ballentine Pond | Sedimentation | Clean with backhoe (June 2007) | White Horn Brook |
|  | Roger Williams Pond | Sedimentation | Clean with backhoe (TBD) | White Horn Brook |
|  | Ellery Pond | Sedimentation | Dredge with equipment (TBD) | White Horn Brook |

SECTION III.C  Note any planned municipal construction projects/opportunities to incorporate water quality BMPs, low impact development, or activities to promote infiltration and recharge (Part IV.G.2.j).

The University has completed a draft Drainage Master Plan to identify the drainage flow within the watershed, and began the establishment of a Wetlands file tracking and inventory. This tool will be a key resource in the identification of potential impacts of site work within the campus. The development of a centralized Wetlands Application file is designed to track the preliminary design development of potential wetlands impact projects and to track the progress of that design development through permit application and construction. We intend to expand the utilization of the Storm Water Model to review planned construction in a longer range University Master Plan that will help guide construction, maintenance and future planning. The University continues to develop the Operations and Maintenance program. Operational reviews were initiated within the Office of Capital Projects with the incorporation of discussions with the project managers, with the communication outreach during design development as relating to storm water drainage and wetlands impacts, and the initiation of a wetlands file for all campus-wide activities.

SECTION III.D  Please include a summary of results of any other information that has been collected and analyzed. This includes any type of data

(Part IV.G.2.e).

None

TOTAL MAXIMUM DAILY LOAD (TMDL) or other Water Quality Determination REQUIREMENTS

SECTION I.  If you have been notified that discharges from your MS4 require non-structural or structural storm water controls based on an approved TMDL or other water quality determination, please provide an assessment of the progress towards meeting the requirements for the control of storm water identified in the approved TMDL (Part IV.G.2.d).  Please indicate rationale for the activities chosen to address the pollutant of concern.

None

##### RHODE ISLAND DEPARTMENT OF ENVIRONMENTAL MANAGEMENT

Office of Water Resources

INSTRUCTIONS FOR THE RI POLLUTANT DISCHARGE ELIMINATION SYSTEM (RIPDES)

SMALL MUNICIPAL SEPARATE STORM SEWER SYSTEMS AND INDUSTRIAL ACTIVITY AT ELIGIBLE FACILITIES OPERATED BY REGULATED SMALL MS4s

ANNUAL REPORT FORM

##### WHO MUST SUBMIT AN ANNUAL REPORT:

Owners/Operators of regulated small municipal separate storm sewer systems (MS4s) and industrial activities authorized to discharge storm water under the Rhode Island Pollutant Discharge Elimination System (RIPDES) Storm Water General Permit for Small Municipal Separate Storm Sewer Systems and Industrial Activity at Eligible Facilities Operated by Regulated Small MS4s, must submit an Annual Report, outlined in Part IV.G of the permit. The Report must be submitted each year after permit issuance by March 10th to track progress of compliance.  If you have questions regarding this Annual Report Form contact Margarita Chatterton of the Rhode Island Department of Environmental Management (RIDEM), Office of Water Resources, Permitting Section at (401) 222-4700 ext. 7605.

The Annual Report must be submitted to:

RIDEM

Office of Water Resources

RIPDES Program

Permitting Section

235 Promenade Street

Providence, RI 02908

ATTN: Margarita Chatterton

##### INSTRUCTIONS FOR COMPLETION:

GENERAL INFORMATION PAGE:

“RIPDES Permit #”

Include your permit ID # to ensure proper tracking.

“Operator of MS4”

Give the legal name of the person, firm, public (municipal) organization, or any other entity that is responsible for day-to-day operations of the MS4 described in this application (RIPDES Rules 3 & 12). Enter the complete address and telephone number of the operator. Circle the appropriate choice to indicate the legal status of the operator of the MS4.

“Owner of MS4”

If the owner is the same as the operator do not complete this section. Give the legal name of the person, firm,

public (municipal) organization, or any other entity that owns the MS4 described in this application (RIPDES Rules 3 & 12). Do not use a colloquial name. Enter the complete address and telephone number of the owner.

“Certification”

State and federal statutes provide for severe penalties for submitting false information on this application form. State and federal regulations require this application to be signed as follows (RIPDES Rule 12);

For a corporation: by a responsible corporate officer, which means: (i) president, secretary, treasurer, or vice president of the corporation in charge of a principal business function, or any other person who performs similar policy or decision making functions, or (ii) the manager of one or more manufacturing, production, or operating facilities, provided the manager is authorized to make management decisions which govern the operation of the regulated facility including having the explicit or implicit duty of making major capital investment recommendations, and initiating and directing other comprehensive measures to assure long term environmental compliance with environmental laws and regulations; the manager can ensure that the necessary systems are established or actions taken to gather complete and accurate information or permit application requirements; and where authority to sign documentation has been assigned or delegated to the manager in accordance with cooperate procedures;

For a partnership or sole proprietorship: by a general

partner or the proprietor;

For a Municipality, State, Federal or other public site:

by either a principal executive officer or ranking elected official.

SECTION I- MEASURABLE GOALS:

One or more pages, front and back, are provided to report on the status of measurable goals which have been developed to aid in the implementation of strategies, procedures, and programs used to achieve each of the six minimum control measures in Part IV.B of the General Permit. Please type or print in the appropriate areas only. If additional space is needed please submit attachments to the appropriate minimum control measure following the format provided.

Where indicated, please provide the status of the pertinent local ordinances and City or Town Solicitor’s letter.  If these documents have not previously been submitted to RIDEM, please include them with this Annual Report.

The first section entitled “Required Measurable Goals” includes mainly strategies, procedures, and programs, which MUST be developed/implemented by a specific year as mandated by the permit.

The second section entitled “Additional Measurable Goals” provides space to include your own MS4-specific measurable goals not prescribed in the permit (though noted in your Storm Water Management Program Plan), but are intended to aid in the implementation of strategies, procedures, and programs outlined in the permit to comply with each minimum measure.

Example: Public Education and Outreach

“Required Measurable Goals”- Sections IV.B.1.b.2 and IV.B.1.b.4 are considered “Required Measurable Goals” because strategies on how to inform the community on how to become involved in the storm water program and how operators will utilize partnerships, and strategies to list target pollutant sources MUST be developed within the first year.  These are considered “Required Measurable Goals” because the development of such strategies has a deadline.

“Additional Measurable Goals”- Any further establishment of deadlines, percentages, etc. used to aid the implementation of strategies, procedures, or programs are considered “Additional Measurable Goals.”  Examples may include: informing 70% of residents about proper fertilizer use; introduction of an ordinance to control pet waste by the end of the third year.  These would classify as “Additional Measurable Goals” because they are not prescribed by the permit but are fulfilling overall minimum measure requirements.

“Permit ID #”

The Permit ID # is the part of the permit where you can find a listing or description of the required measurable goal.

“BMP ID #”

The BMP ID # refers to the number assigned to a specific requirement or BMP and reported to the Department in the Storm Water Management Program Plan.

“List Measurable Goal”

A brief description of the measurable goal with the year it must be completed by in parentheses.

“Date(s) Completed”

Enter the date the measurable goal was completed. (Note that this date may have been during previous reporting years.)  For ongoing tasks (and shaded areas), please use the space in Section II to describe actions taken to meet the goal, progress, plans, etc.

“Date Submitted to RIDEM”

Enter the date that a required document was submitted to RIDEM as part of meeting a measurable goal. (Note that this date may have been during previous reporting years.)

“If goal was NOT met…”

Complete this section only if you have not yet completed the tasks/measurable goals.  If you have not met the measurable goal on time OR are on track with meeting the measurable goal on time, please provide a brief description as to why the goal has not been met, the current status of actions needed to meet the goal, any current plans, and the date you foresee the goal to be completed by. Please keep this section brief.  For items that have been shaded, please use Section II to describe what new and/or ongoing activities have been undertaken or progress made toward meeting the measurable goal.

SECTION II- OVERALL EVALUATION:

This section provides narrative space for a more descriptive explanation and evaluation of the actions taken to satisfy each of the minimum control measures.

Please provide a general summary of actions taken (implementation of BMPs, development of procedures, events, etc.) to meet the measurable goals of the minimum measure.  Be sure to identify parties responsible for achieving each measurable goal and reference any reliance on another entity for achieving any measurable goal.

Describe whether each measurable goal was completed within the time proposed in the MS4 General Permit or your Storm Water Management Program Plan (SWMPP). Why or why not? Provide a progress report and discussion of activities that will be carried out during the next reporting cycle to satisfy the requirements of the minimum measures. If applicable, assess the appropriateness of the actions taken to meet the requirements of the minimum measure. In determining appropriateness, you may want to consider at a minimum the local population targeted, pollution sources addressed, receiving water concerns, integration with local management procedures, and available resources and violations or environmental impacts eliminated or minimized.

Also, discuss the effectiveness of the implementation of BMPs to meet the requirements of the minimum measure and the overall effectiveness of the minimum measure.  Describe your progress towards achieving the overall goal of reducing the discharge of pollutants.  Please include assessment parameters/indicators used to measure the success of the minimum measure. Also include a discussion of any proposed changes to BMPs or measurable goals.

After evaluation, it may be necessary to make changes or modifications to your Implementation Schedule if the time frame, appropriateness or effectiveness cannot be assured.  If so, please include descriptions of changes or modifications, and detailed justification in the appropriate sections.

SECTION III- ADDITIONAL ANNUAL REPORT REQUIREMENTS

Section III refers to additional reporting requirements that the MS4 General Permit is required to submit to the Department as part of the Annual Report. Section III requirements apply to Minimum Control Measures 2 through 6.

Minimum Control Measure #2: Section III:

Specify the date of and how the annual report was public noticed. If a public meeting was needed, provide the date and place. Include a summary of public comments received in the public comment period of the draft annual report and planned responses or changes to the program (new or revised BMP’s and measurable goals, partnerships, etc.). Be sure to attach a copy of your public notice (Part IV.G.2.h and IV.G.2.i).

Minimum Control Measure #3: Section III.A:

Provide the number of illicit discharges identified, complaints received, violations with a summary of enforcement actions, and unresolved violations that have been referred to RIDEM. Include a short narrative describing the extent to which your system has been mapped (Part IV.G.2.m).

Minimum Control Measure #3: Section III.B:

List location, date found, operator of the physically interconnected MS4, and originating source of newly identified physical interconnections with other small MS4s.  Also note any planned or coordinated activities with the physically interconnected MS4 (Part IV.G.2.k and IV.G.2.l).

Minimum Control Measures #4 & 5: Section III.A:

Identify the number of construction and post-construction plan and SWPPP reviews completed during Year 4 (2007) and any further information. This includes, but is not limited to a summary of the reviews, responsible parties, and types of projects reviewed.

Minimum Control Measure #4: Section III.B:

Construction inspection information for erosion and sediment control should be submitted annually as stated in Part IV.G.2.n.  Provide a summary of the number of site inspections conducted, inspections that have resulted in enforcement actions, violations that have been resolved and of those unresolved, referred to RIDEM.

Minimum Control Measure #5: Section III.B:

Post-construction inspection information for proper installation of post-construction structural BMPs should be submitted annually as stated in Part IV.G.2.o.  This should provide a summary of the number of site inspections conducted, inspections that have resulted in enforcement actions, violations that have been resolved and of those unresolved, referred to RIDEM.

Minimum Control Measure #5: Section III.C:

Inspection information for proper operation and maintenance of post-construction structural BMPs should be submitted annually as stated in Part IV.G.2.p.  This should provide a summary of the number of site inspections conducted, inspections that have resulted in enforcement actions, violations that have been resolved and of those unresolved, referred to RIDEM.

Minimum Control Measure #6: Section III.A:

As prescribed in Part IV.B.6.b.1.i of the General Permit, the MS4 operator must identify and list the specific location and description of all structural BMPs in the SWMPP at the time of application and update the information in the annual report.

Minimum Control Measure #6: Section III.B:

Part IV.B.6.b.1.v of the Permit states to identify and report annually, as part of the annual report, known discharges causing scouring at outfall pipes or outfalls with excessive sedimentation. Include Outfall ID #, location, description of the problem, any remediation taken, and the ultimate receiving water body.

Minimum Control Measure #6: Section III.C:

As noted in Part IV.G.2.j of the General Permit, specify any planned municipal construction projects or opportunities to include water quality BMPs, low impact development, or seek to promote infiltration and recharge.

Minimum Control Measure #6: Section III.D:

Please include a summary of results of any other information that has been collected and analyzed.  This includes any type of data, including, but not limited to, dry weather survey data (Part IV.G.2.e).

TOTAL MAXIMUM DAILY LOAD (TMDL) or other Water Quality Determination REQUIREMENTS

Section I:

Complete this section only if your MS4 is subject to an approved TMDL. TMDL requirements may require the implementation of the six minimum control measures to address the pollutants of concern, and/or additional structural storm water controls or measures that are necessary to meet the provisions of the approved TMDL. Be sure to identify the approved TMDL and assess the progress towards meeting the requirements for the control of storm water (Part IV.G.2.d).

Provide a progress report: present status and discussion of activities that have been accomplished or will be carried out during the next reporting cycle to satisfy the requirements of the TMDL. If applicable assess the appropriateness of the BMPs selected under each of the six minimum control measures to meet the requirements of the TMDL. In determining appropriateness you may want to consider, violations or environmental impacts eliminated or minimized.

Please include assessment parameters/indicators that will be used to measure the success of the selected BMPs. Also include a discussion of any proposed changes to BMPs or measurable goals.