DEM USE ONLY

Date Received 	____________

# RHODE ISLAND DEPARTMENT OF

# ENVIRONMENTAL MANAGEMENT

Office of Water Resources

# RIPDES SMALL MS4 ANNUAL REPORT (Draft)

# GENERAL INFORMATION PAGE

RIPDES PERMIT #RIR040 __________________

REPORTING PERIOD:		X  YEAR  6

Jan 09-Dec 09

## OPERATOR OF MS4

| Name: The University of Rhode Island |
| --- |
| Mailing Address: Sherman Building, 523 Plains Road |
| City: Kingston | State: RI | Zip: 02881 | Phone: (401) 874-5488 |
| Contact Person: Jerome Sidio | Title: Director, Facilities Services |
| Legal status (circle one): PRI - Private PUB - Public BPP - Public/Private STA - State FED – Federal Other (please specify): |

OWNER OF MS4 (if different from OPERATOR)

| Name: |
| --- |
| Mailing Address: |
| City: | State: | Zip: | Phone: ( ) |
| Contact Person: | Title: |

## CERTIFICATION

I certify under penalty of law that this document and all attachments were prepared under the direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, I certify that the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations. Print Name Jerome Sidio__________________________________________ Print Title Director Facilities Services_______________________________ Signature _____________________________________________________ Date _____________

MINIMUM CONTROL MEASURE #1:

PUBLIC EDUCATION AND OUTREACH  (Part IV.B.1 General Permit)

SECTION I.	OVERALL EVALUATION:

| GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS: Include information relevant to the implementation of each measurable goal, such as activities, topics addressed, audiences and pollutants targeted. Discuss activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for choosing the education activity to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.) |
| --- |
| IV.B.1.b.1 | Provide a General Summary of activities implemented to educate your community on how to reduce storm water pollution. For TMDL affected areas, with storm water associated pollutants of concern, indicate rationale for choosing the education activity. List materials used for public education and topics addressed. Summarize implementation status and discuss if the activity is appropriate and effective. |
| The University continued educating the community in storm water pollution with media messages on the large screen information boards located at each dormitory. The information boards are an effective way to get messages out to the residents especially the incoming freshmen which makes up to almost half of the residents on campus. Messages were also displayed on bus and shuttle shelters which would reach the commuters to the campus. URI contracted with the Southern RI Conservation District to provide training to the members of the URI Lands and Grounds Dept. and the URI Automotive Repair Shop in Storm Water Pollution Prevention at a Public Works Facility. Messages to educate the community also continued in the school website. Lastly, the URI CELS Program along with RI NEMO continued to sponsor education programs for all communities of the state. The parties involved include the URI Utilities Dept., URI CELS Program, and the RI NEMO Program. |
| IV.B.1.b.2 | Provide a general summary of how the public education program was used to educate the community on how to become involved in the municipal or statewide storm water program. Describe partnerships with governmental and non-governmental agencies used to involve your community. |
| The storm drain marking project conducted in 2008 landed on the University’s Web Site Home Page where it could be seen by thousands of students, staff and visitors each day. In additional the storm drain marking was also shown regularly on the electronic information boards located at each of the Residence Halls. The University regularly partners with student groups for earth day activities and campus cleanup events. In what may appear as unrelated to stormwater pollution prevention, the University has entered into a contract for energy savings which includes a behavior change measure. Though the concentration of this measure is for energy savings, it is hoped that the program will help change not only the community’s wasteful energy behaviors, but also other wasteful behaviors such as littering which contributes to the stormwater pollution. Responsible parties include the URI Utilities Dept. URI CELS Program, Noresco & RI NEMO. |
| Additional Measurable Goals and Activities: If the municipality has committed to participate in the URI NEMO storm water public education and outreach program, please indicate if the following training sessions were attended and list the name(s) and municipal position of all staff who attended the training. Attendance at the following training: X 8/27/2009 Controlling Construction Site Runoff: Are Your Ordinances and Enforceable Policies Making the Grade? Attending name of staff and title: Andy Alcusky, Utilities Dept. Project Manager Attending name of staff and title: Dave Lamb, Utilities Dept. Director Other Trainings: 6/3/09 & 6/9/09 Stormwater Pollution Prevention at Public Works Facilities Attendees: URI Lands & Grounds Dept., URI Automotive Repair Dept., and Andy Alcusky 06/04/09 Information Session about the Draft RI Stormwater Design and Installation Standards Manual Attendee: Andy Alcusky 12/9/09 Stormwater Management at Construction Sites, conducted by Mark Winske of Gilbane Building Co. Attendees: Andy Alcusky, Sheleen Clarke URI Lands and Grounds Director |

MINIMUM CONTROL MEASURE #2:

PUBLIC INVOLVEMENT/PARTICIPATION  (Part IV.B.2 General Permit)

SECTION I.	OVERALL EVALUATION:

| GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS: Include information relevant to the implementation of each measurable goal, such as types of activities and audiences/groups engaged. Discuss activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for the activities chosen to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.) |
| --- |
| IV.B.2.b.2.ii | Describe audiences targeted for the public involvement minimum measure, include a description of the groups engaged, and activities implemented and if a particular pollutant(s) was targeted. If addressing TMDL requirements indicate how the audience(s) and/or activity address the pollutant(s) of concern. Name of person(s) and/or parties responsible for implementation of activities identified. Assess the effectiveness of BMP and measurable goal. |
| Audiences targeted include the students living on campus especially the freshman students new to the campus. Others targeted include staff both educational as well as support staff. Activities implemented include the storm drain marking program by the students. Other activities targeted for involvement include the campus wide cleanup to reduce floatables and Earth day activities. Responsible parties include the URI Utilities Dept. Lands and Ground Dept. and the URI CELS program. |
| Additional Measurable Goals and Activities |

SECTION II.  Public Notice Information  (IV.G.2.h and IV.G.2.i)   *Note: attach copy of public notice

| Date of Public Notice: 3/14/09 | How public was notified: How public was notified: Posted to Facilities Services Website and campus wide e-mail. |
| --- | --- |
| Was public meeting held? YES NO Date: Where: |
| Summary of public comments received: No comments were received. |
| Planned responses or changes to the program: URI now has a campus wide list-serve that sends an email to all registered students, faculty and staff. This is an accepted method for university wide notifications to the campus community. This is the preferred method for campus public notices to reduce paper use and contact a large number of people in the most cost effective and efficient manner. Year 6 will utilize this method for public notice. URI will also provide notice in the campus newspaper. |

MINIMUM CONTROL MEASURE #3:

ILLICIT DISCHARGE DETECTION AND ELIMINATION  (Part IV.B.3 General Permit)

SECTION I.  OVERALL EVALUATION:

| GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS Include information relevant to the implementation of each measurable goal, such as activities implemented (when reporting tracked and eliminated illicit discharges, please explain the rationale for targeting the illicit discharge) to comply with on-going requirements, and illicit discharge public education activities, audiences and pollutants targeted. Discuss activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for the activities chosen to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.) |
| --- |
| IV.B.3.b.1: | Indicate if the outfall map was not completed, reasons why, proposed schedule for completion of requirement and person(s)/ Department responsible for completion. Electronic submission of the RIDEM provided Outfall Location EXCEL Tables is required for this 2009 reporting year, if not already submitted or if revised since 2008. Date of Completion: December 22, 2008 |
| The outfall map was completed by the URI Utilities Dept. Outfall Location Tables have been completed and were included with the Year 5 report. |
| IV.B.3.b.2 | Indicate if your municipality chose to implement the tagging of outfalls activity under the IDDE minimum measure, activities and actions undertaken under the 2009 calendar year. |
| The University Utilities Dept chose to implement the tagging of outfalls under the IDDE minimum measure and tagged the outfalls in 2008. |
| IV.B.3.b.3 | Provide a summary of the implementation of recording of system additional elements (catch basins, manholes, and/or pipes). Indicate if the activity was implemented as a result of the tracing of illicit discharges, new MS4 construction projects, and inspection of catch basins required under the IDDE and Pollution Prevention and Good Housekeeping Minimum Measures, and/or as a result of TMDL related requirements and/or investigations. Assess effectiveness of the program minimizing water quality impacts. |
| The University continued to update the drainage system throughout campus during 2009. As a result of field inspection an additional 53 catch basins were added to our inventory and 10 catch basins were removed from the inventory list. The changes in the quantities were a result of further mapping of the system and updating changes due to recent construction. In addition to the field inspections URI will continue to update additional information from the record drawings from projects completed during the past year. URI’s Capital Projects Group provides a status of all projects on campus and as projects are closed out, the URI Utilities Dept. will then add or delete the modifications using the record drawings complemented by the associated field inspection. |
| IV.B.3.b.4 | Indicate if the IDDE ordinance was not developed, adopted and submitted to RIDEM, explain reasons why, submit proposed schedule for completion and identify person(s) / Department and/or parties responsible for the completion of this requirement. Date of Adoption: |
| Since URI does not have a mechanism for developing an IDDE ordinance, the University of Rhode Island has not developed this ordinance in the 2009 calendar year. In lieu of this ordinance the University is proposing in 2010, that a directive from the responsible University Officer be substituted. The University is a state agency that has policies in place to ensure proper compliance to prohibit and enforce illicit discharges to the MS4. Policy enforcement is through a combination of inspections by Safety and Risk Management and Facilities Services Departments. The SR&M department receives, responds, investigates and files all incidents involving hazmat and other illicit discharge activities that might occur on campus. Investigations, corrective actions and enforcement activities are monitored and implemented through this office. We also conduct annual inspections throughout the campus for potential illicit discharges into the storm and waste water systems. We have developed a Spill Prevention and Containment Plan as required by the EPA that is designed to reduce the potential for illicit discharges into the sanitary and storm water systems. |
| IV.B.3.b.5.ii, iii, iv, & v | Provide a summary of the implementation of procedures for receipt and consideration of complaints, tracing the source of an illicit discharge, removing the source of the illicit discharge and program evaluation and assessment as a result of removing sources of illicit discharges. Identify person(s) / Department and/or parties responsible for the implementation of this requirement. |
| All complaints (of any nature) are referred to the URI Control Center. The Control Center will log each call and then notify the appropriate department responsible for the complaint. If the complaint is relative to an illicit discharge to the storm system, the URI Utilities Dept will be responsible to respond to the complaint. The Utilities Dept. will evaluate the complaint, trace the origin of the illicit discharge, ensure that the illicit discharge is stopped immediately and assess if other procedures need to be implemented. |
| IV.B.3.b.5.vi | Provide summary of implementation of catch basin and manhole inspections for illicit connections and non-storm water discharges. Please indicate if the required measurable goal of inspecting all catch basins and manholes for this purpose was not accomplished reasons why, proposed schedule and Identify person(s) / Department and/or parties responsible for the implementation of this requirement. Evaluate effectiveness of the implementation of this requirement. The operator must keep records of all inspections and corrective actions required and completed. |
| During 2009, the URI Utilities Dept. inspected 594 of the 704 catch basins throughout the Kingston Campus for illicit connections and non-storm water discharges. The inspections were performed in conjunction with the surveying of the drainage system for inventory of the system and noting condition of the structures. Inspection of the catch basins also help determined which structures were in need of cleaning. Records are maintained on an Excel spreadsheet. URI will commit to inspecting 100% of the structures in 2010. |
| IV.B.3.b.5.vii | If dry weather surveys including field screening for non-storm water flows and field tests of selected parameters and bacteria were not completed, indicate reasons why, proposed schedule for the completion of this measurable goal and person(s) / Department and/or parties for the completion of this requirement. Evaluate effectiveness of the implementation of this requirement. The operator must include a measurable goal of performing a minimum of two surveys, one to be conducted between January 1st - April 30th and one between July 1st - October 31st by the end of calendar year 2007. The results of the dry weather survey investigations must be submitted to RIDEM electronically, if not already submitted or if revised since 2008, in the RIDEM provided EXCEL Tables and should include visual observations for all outfalls during both the high and low water table timeframes, as well as sample results for those outfalls with flow. Date of Completion: September 17, 2009 |
| The University conducted dry weather surveys in 2008 and included them in the Year 5 report.. For Year 6, The University Utilities Dept. performed dry weather surveys on May 11, 2009 and September 17, 2009. In the first survey, flow was noted at five of the outfall sites. Flow was observed at two of the outfalls during the September 17, 2009 survey and the dry weather samples were taken and analyzed By ESS Laboratories. The results of the surveys are shown in the Year 6 Report. |
| IV.B.3.b.7 | Provide a description of efforts and actions taken as a result of for coordinating with other physically interconnected MS4s, including State and federal owned or operated MS4s, when illicit discharges were detected or reported. Identify person(s) / Department and/or parties responsible for the implementation of this requirement. Evaluate effectiveness of the implementation of this requirement. |
| The University does not have any interconnections with any other MS4’s. |
| IV.B.3.b.8 | Provide a description of efforts and actions taken for the referral to RIDEM of non-storm water discharges not authorized in accordance to Part I.B.3 of this permit or another appropriate RIPDES permit, which the operator has deemed appropriate to continue discharging to the MS4, for consideration of an appropriate permit. Identify person(s) / Department and/or parties responsible for the implementation of this requirement. Evaluate effectiveness of the implementation of this requirement. |
| The URI Utilities Dept. did not find any illicit discharges during any of their inspections of the drainage system in 2009. |
| IV.B.3.b.9 | Provide a description of efforts and actions taken for informing inform public employees, businesses, and the general public of hazards associated with illegal discharges and improper disposal of waste as well as allowable non-storm water discharges identified as significant contributors of pollutants. Include a description on how this activity was coordinated with the public education minimum measure and the pollution prevention/good housekeeping minimum measure programs. Identify person(s) / Department and/or parties responsible for the implementation of this requirement. Evaluate effectiveness of the implementation of this requirement. |
| Employees of the University’s Lands and Grounds Dept. and the Automotive Repair Shop attended a two day training program to educate personnel on Storm Water Pollution Prevention in a Public Works Facility in June of 2009. The University’s Safety & Risk Dept. conducts numerous trainings throughout the year in proper disposal of wastes and especially hazardous wastes. All employees working with the waste stream are required to attend re-fresher courses. Staff employees have been trained to comply with spill control procedures and the proper disposal of waste. A campus wide effort to inform students, staff and visitors was implemented during 2008. Messages were placed on the web site home page and electronic bulletin boards at all residence halls to “Know where it goes”. All contractors working on campus are required per contract to properly dispose of all waste material and are allowed only permitted discharges into the storm drainage system. |
| Additional Measurable Goals and Activities |

SECTION II.A  Other Reporting Requirements - Illicit Discharge Inspections to Date (Part IV.G.2.m)

| Total Illicit Discharges Identified: 0 | Total Illicit Discharges Tracked: 0 |
| --- | --- |
| Total Illicit Discharges Eliminated: 0 | # of Complaints Received: 0 |
| # of Violations Issued: 0 | # of Unresolved Violations Referred to RIDEM: 0 |
| Summary of Enforcement Actions: None required. |
| Extent to which the MS4 system has been mapped: 95% - System is continually being updated each year. |

SECTION II.B  Interconnections (Part IV.G.2.k and IV.G.2.l)

| Interconnection: | Date Found: | Location: | Connectee: | Originating Source: | Planned and Coordinated Efforts and Activities with Connectee: |
| --- | --- | --- | --- | --- | --- |
| None |  |  |  |  |  |

MINIMUM CONTROL MEASURE #4:

CONSTRUCTION SITE STORM WATER RUNOFF CONTROL  (Part IV.B.4 General Permit)

SECTION I.	OVERALL EVALUATION:

| GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS: Include information relevant to the implementation of each measurable goal, such as activities implemented to support the review, issuance and tracking of permits, inspections and receipt of complaints. Discuss activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for the activities chosen to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.) |
| --- |
| IV.B.4.b.1 | Indicate if the Sediment and Erosion Control and Control of Other Wastes at Construction Sites ordinance was not developed, adopted and submitted to RIDEM, explain reasons why, submit proposed schedule for completion and identify person(s) / Department and/or parties responsible for the completion of this requirement. Date of Adoption: |
| An ordinance for Sediment and Erosion Control and Control of Other Wastes at Construction Sites ordinance was not developed. The University does not have a mechanism to develop ordinances. In lieu of an ordinance, URI is proposing to substitute a directive from the appropriate Officer of the University. The mechanism to ensure proper erosion and sediment controls and control of other wastes is our “General Plans and Specifications” developed for and under the direction of the Office of Capital Projects by an A/E firm. Under Division 2, Site Construction, we require erosion and sediment control as well as the control of other wastes. These requirements are site specific and are developed by the A/E firm for each project. The requirements are enforced and managed by the project manager of each construction project. If the requirements are not met, we impose corrective actions in order to bring the project back into compliance. Failure to comply with the contract requirements results in a breach of contract and is dealt with according to contract law. |
| IV.B.4.b.6 | Describe actions taken as a result of receipt and consideration of information submitted by the public. |
| Information from the public is documented and evaluated by the University with a response provide after the evaluation. |
| IV.B.4.b.8 | Describe activities and actions taken as a result of referring to the State non-compliant construction site operators. The operator may rely on the Department for assistance in enforcing the provisions of the RIPDES General Permit for Storm Water Discharges Associated with Construction Activity to the MS4 if the operator of the construction site fails to comply with the local and State requirements of the permit and the non-compliance results or has the potential to result in significant adverse environmental impacts. |
| The University did not have any referrals to the State for assistance in enforcing any part of RIPDES General Permit for Storm water Discharge Associated with Construction Activity to the MS4. |
| Additional Measurable Goals and Activities |

SECTION II. A - Plan and SWPPP Reviews during Year 6 (2009) Part IV.B.4.b.2: Issuance of permits and/or implementation of policies and procedures for all construction projects resulting in land disturbance of greater than 1 acre.

IV.B.4.b.4: Review 100% of plans and SWPPPs for construction projects resulting in land disturbance of 1-5 acres must be conducted by adequately trained personnel and incorporate consideration of potential water quality impacts.

# of Construction Reviews completed: 2

Summary of Reviews and Findings, include an evaluation of the effectiveness of the program. Identify person(s) /Department and/or parties responsible for the implementation of this requirement. College of Pharmacy – This project involves the construction of a new 100,000 square foot building and the demolition of the old Bioscience Building. The plan was developed by Parr Engineering and reviewed and approved by RIDEM. Center for Hellenic Studies – This project involved construction of an open amphitheater and attached building. Plans were developed by Crossman Engineering.

SECTION II.B - Erosion and Sediment Control Inspections during Year 6 (2009) (Part IV.G.2.n) Part IV.B.4.b.7: Inspection of 100% of all construction projects within the regulated area that discharge or have the potential to discharge to the MS4 (the program must include two inspections of all construction sites, first inspection to be conducted during construction for compliance of the Erosion and Sediment controls at the site, the second to be conducted after the final stabilization of the site).

| # of Site Inspections: 6 | # of Complaints Received: 1 |
| --- | --- |
| # of Violations Issued: 0 | # of Unresolved Violations Referred to RIDEM: 0 |
| Summary of Enforcement Actions, include an evaluation of the effectiveness of the program. Identify person(s) /Department and/or parties responsible for the implementation of this requirement. Starting 2009, the Utilities Dept started inspection of construction project to ensure compliance to the required erosion and sediment controls. Sites were reviewed on a monthly basis as well as after significant rain events. No referrals were sent to the State since the contractors readily complied with any issues. Final inspections were conducted at two sites in 2009. |

MINIMUM CONTROL MEASURE #5:

POST CONSTRUCTION STORM WATER MANAGEMENT IN NEW DEVELOPMENT AND RED	REVELOPMENT

(Part IV.B.5 General Permit)

SECTION I.	OVERALL EVALUATION:

| GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS: Include information relevant to the implementation of each measurable goal, such as activities implemented to support the review, issuance and tracking of permits, inspections and receipt of complaints, etc. Please indicate if any projects have incorporated the use of Low Impact Development techniques. Discuss activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for the activities chosen to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.) (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.) |
| --- |
| IV.B.5.b.5 | Describe activities and actions taken to coordinate with existing State programs requiring post-construction storm water management. |
| Long term BMP maintenance schedules are required to be included as part of the approval process for new development. Maintenance schedules are developed in accordance to the Rhode Island Stormwater design and Installation Standards Manual. |
| IV.B.5.b.6 | Describe actions taken for the referral to RIDEM of new discharges of storm water associated with industrial activity as defined in RIPDES Rule 31(b)(15) (the operator must implement procedures to identify new activities that require permitting, notify RIDEM, and refer facilities with new storm water discharges associated with industrial activity to ensure that facilities will obtain the proper permits). |
| There was not any new industrial activity at this MS4 in 2008. Therefore there were no referrals to the State for any new discharges of storm water associated with industrial activity. |
| IV.B.5.b.9 | Indicate if the Post-Construction Runoff from New Development and Redevelopment Ordinance was not developed, adopted and submitted to RIDEM, explain reasons why, submit proposed schedule for completion and identify person(s) / Department and/or parties responsible for the completion of this requirement. Date of Adoption: |
| The Post-Construction Runoff from New Development and Redevelopment Ordinance was not developed. The University does not have a mechanism to develop ordinances. In lieu of an ordinance, URI policy is proposing to substitute a directive from the appropriate University Officer. The mechanism to ensure proper post construction erosion and sediment controls and control of other wastes post construction is also our “General Plans and Specifications” developed for and under the direction of the Office of Capital Projects by an A/E firm. Under Division 2, Site Construction, we require erosion and sediment control as well as the control of other wastes. Post construction requirements are included in the storm water prevention plans developed for each project by the A/E firm. The requirements are enforced and managed by the project manager of each construction project in conjunction with our own certified inspector. If the requirements are not met, we impose corrective actions in order to bring the project back into compliance. Failure to comply with the contract requirements results in a breach of contract and is dealt with according to contract law. |
| IV.B.5.b.12 | Describe activities and actions taken to identify existing storm water structural BMPs discharging to the MS4 with a goal of ensuring long term O&M of the BMPs. |
| A list of BMPs was formulated in the Drainage Master Plan of 2006. In 2008, the list of BMPs was updated to include new BMPs since the Master Drainage Plan was developed. The procedure to add new BMPs as well as the associated maintenance requirements to the list will be an annual task for the Utilities Dept. Each year the University intends to update this list as new work is completed on campus. |
| Additional Measurable Goals and Activities |

SECTION II.A. - Plan and SWPPP Reviews during Year 6 (2009) Part IV.B.5.b.4: Review 100% of post-construction BMPs for the control of storm water runoff from new development and redevelopment projects that result in discharges to the MS4 which incorporates consideration of potential water quality impacts (the program requires reviewing 100% of plans for development projects greater than 1 acre, not reviewed by other State programs).

# of Post-Construction Reviews completed: 2

Summary of Reviews and Finding, include an evaluation of the effectiveness of the program. Identify person(s) /Department and/or parties responsible for the implementation of this requirement. Baseball Field Improvements – Project is complete with no complaints or violations. Storm water runoff was controlled by normal procedures such as hay bales and silt fences. Stormwater is directed into existing system. CBLS - serving the North District portion of the URI campus – Control procedures included the use of silt fences, hay bales and crushed stone. The CBLS project had a problem with slope stabilization on the south side of the site. A retaining wall was built to prevent the erosion of the slope. After the retaining wall was installed the reduced slope was stabilized. This area will require further inspections in 2010.

SECTION II.B. - Post Construction Inspections during Year 6 (2009): Parts IV.G.2.o and IV.B.5.b.10 Proper Installation of Structural BMPs: Inspection of BMPs, to ensure these are constructed in accordance with the approved plans (the program must include inspection of 100% of all development greater than one acre within the regulated areas that result in discharges to the MS4 regardless of whom performs the review).

| # of Site Inspections: 8 | # of Complaints Received: 1 |
| --- | --- |
| # of Violations Issued: 0 | # of Unresolved Violations Referred to RIDEM: 0 |
| Summary of Enforcement Actions: No enforcement actions necessary. |

SECTION II.C. - Post Construction Inspections during Year 6 (2009): Parts IV.G.2.p and IV.B.5.b.11 Proper Operation and Maintenance of Structural BMPs (Part) Describe activities and actions taken to track required Operations and Maintenance (O&M) actions for site inspections and enforcement of the O&M of structural BMPs. Tracking of required O&M actions for site inspections and enforcement of the O&M of structural BMPs.

| # of Site Inspections: 8 | # of Complaints Received: 0 |
| --- | --- |
| # of Violations Issued: 0 | # of Unresolved Violations Referred to RIDEM: 0 |
| Summary of Activities and Enforcement Actions. Evaluate the effectiveness of the Program in minimizing water quality impacts. Identify person(s) /Department and/or parties responsible for the implementation of this requirement. The Utilities Dept. conducted inspections of the BMPs. Actual maintenance is conducted by the URI lands and Grounds Dept. |

MINIMUM CONTROL MEASURE #6:

POLLUTION PREVENTION AND GOOD HOUSEKEEPING IN MUNICIPAL OPERATIONS  (Part IV.B.6 General Permit)

SECTION I.  OVERALL EVALUATION:

| GENERAL SUMMARY, STATUS, APPROPRIATENESS AND EFFECTIVENESS OF MEASURABLE GOALS: Include information relevant to the implementation of each measurable goal, such as activities and practices used to address on-going requirements, and personnel responsible. Discuss activities to be carried out during the next reporting cycle. If addressing TMDL requirements, please indicate rationale for the activities chosen to address the pollutant of concern. (Note: Identify parties responsible for achieving the measurable goals and reference any reliance on another entity for achieving measurable goals.) |
| --- |
| IV.B.6.b.1.i | Describe activities and actions taken to identify structural BMPs owned or operated by the small MS4 operator (the program must include identification and listing of the specific location and a description of all structural BMPs in the SWMPP and update the information in the Annual Report). Evaluate appropriateness and effectiveness of this requirement. |
| Initial identification of the structural BMPs was done in the 2006 Master Drainage Plan. In 2008 the Utilities Dept. started updating the list of BMPs. The list of maintenance activities are sent to the URI Control Center for regular scheduling of maintenance and inspection. |
| IV.B.6.b.1.ii | Describe activities and actions taken for inspections, cleaning and repair of detention/retention basins, storm sewers and catch basins with appropriate scheduling given intensity and type of use in the catchment area. Evaluate appropriateness and effectiveness of this requirement. |
| Catch Basin cleaning is performed each spring and early summer at areas known to require yearly cleanings. A second round of catch basin cleaning was performed in the late summer of 2009 at locations noted during our yearly inspection. In 2009, the University had a total of 123 catch basins cleaned. The University inspected 805% of the catch basins during calendar year 2009. Starting in 2010, URI will commit to inspect 100% of the catch basins each year until our records can provide the require data to reduce the inspections. |
| IV.B.6.b.1.iii | Describe activities and actions taken to support the requirement of yearly inspection and cleaning of all catch basins (a lesser frequency of inspection based on at least two consecutive years of operational data indicating the system does not require annual cleaning might be acceptable). Evaluate appropriateness and effectiveness of this requirement. |
| The University inspected 80% of the catch basins during 2009. The remaining 20% of the catch basins generally do not have sumps or in areas not subject to sedimentation. The University used the info from the catch basin inspections to schedule additional catch basin cleaning late in the summer of 2009. Starting in 2010, URI will inspect 100% of the catch basins on campus until our records can provide the required data to reduce the inspections. |
| IV.B.6.b.1.iv | Describe activities and actions taken to minimize erosion of road shoulders and roadside ditches by requiring stabilization of those areas. Evaluate appropriateness and effectiveness of this requirement. |
| In 2009, a number of areas were identified that require erosion control of shoulders. Areas such as the walkway south of the Roger Williams Dining Hall, the north shoulder of West Alumni Avenue across from Merrow Hall, the access road north of Davis Hall, and the east side of Rodman Hall were all identified as problem areas with remedial work performed to prevent further erosion. Most roadways throughout campus have curbs to minimize erosion. Swales and ditches are also used to limit erosion of road side shoulders. Areas that have been disturbed by winter activities are repaired and seeded in the spring. Areas noted to be susceptible to erosion will be listed for possible curbing in the future. |
| IV.B.6.b.1.v | Describe activities and actions taken to identify and report known discharges causing scouring at outfall pipes or outfalls with excessive sedimentation, for the Department to determine on a case-by-case basis if the scouring or sedimentation is a significant and continuous source of sediments. Evaluate appropriateness and effectiveness of this requirement. |
| During the annual inspection of outfalls, the outfalls are inspected for scouring and excessive sedimentation. Areas that are in need of repair are reported to the URI Control Center and a work order is generated. Areas requiring work in 2009 include the culvert entering Ellery Pond and the culverts that White Horn Brook flows through. Brush and debris was also removed throughout the White Horn Book and Ellery Pond areas. |
| IV.B.6.b.1.vi | Indicate if all streets and roads within the urbanized area were swept annually and if not indicate reason(s). Evaluate appropriateness and effectiveness of this requirement. |
| All roadways and most parking lots are swept each spring to remove sand and sediment as a result of winter storms. Porous pavement parking lots are not swept, but are vacuumed. Additional sweeping of roads also occurs just prior to commencement activities in May as well as needed throughout the year. The work is required not only for runoff concerns but as well as safety issues with bicycles and other modes of transport across campus. The sweeping of the roads is performed by outside contractors under the direction of the Lands and Ground Dept. |
| IV.B.6.b.1.vii | Describe activities and actions taken for controls to reduce floatables and other pollutants from the MS4. Evaluate appropriateness and effectiveness of this requirement. |
| The vast majority of the floatables encountered was trash. The University has increased the number of trash receptacles and recycling containers throughout the campus to reduce floatables and trash from reaching White Horn Brook. The University has also hired 5 employees to work specifically on trash and recycling issues. The new employees are tasked to check all trash and recycling containers, cleanup spillage around the units, empty the small containers as well as pickup litter throughout the campus. Areas known for having litter problems such as the parking lots and areas adjacent to White Horn Brook have improved dramatically since the employees have been hired. Trash and recycled material are removed at least once per week and as needed for special events. In the spring a cleanup event is scheduled to cleanup areas throughout the campus and especially along White Horn Brook and the nearby parking lots. In addition cleanup of areas is done by students doing community service volunteer work. The department is planning to publicize the reduced litter on campus and hope that the message will convince all members of the community to be more responsible with their trash. |
| IV.B.6.b.1.viii | Describe the method for disposal of waste removed from MS4s and waste from other municipal operations, including accumulated sediments, floatables and other debris and methods for record-keeping and tracking of this information. |
| Sediments removed from drainage structures and ponds (if tests indicate that they are acceptable) are re-used for fill projects throughout the campus. Trash and recyclable materials are trucked off campus. The URI Lands and Grounds Dept. and Utilities Dept. are responsible for this activity. |
| IV.B.6.b.4 and IV.B.6.b.5 | Describe and indicate activities and corrective actions for the evaluation of compliance. This evaluation must include visual quarterly monitoring; routine visual inspections of designated equipment, processes, and material handling areas for evidence of, or the potential for, pollutants entering the drainage system or point source discharges to a waters of the State; and inspection of the entire facility at least once a year for evidence of pollution, evaluation of BMPs that have been implemented, and inspection of equipment. A Compliance Evaluation report summarizing the scope of the inspection, personnel making the inspection, major observations related to the implementation of the Storm Water Pollution Prevention Plan, and any actions taken to amend the Plan must be kept for record-keeping purposes. |
| Quarterly monitoring and routing inspections of the URI Facilities Areas were conducted in 2009. A full inspection of the Facilities Services area of the campus was also performed and is documented in the evaluation report. URI has a SPCC Plan in place. |
| IV.B.6.b.6 | Describe all employee training programs used to prevent and reduce storm water pollution from activities such as park and open space maintenance, fleet and building maintenance, new construction and land disturbances, and storm water system maintenance for the past calendar year, including staff municipal participation in the URI NEMO storm water public education and outreach program and all in-house training conducted by municipality or other parties. Evaluate appropriateness and effectiveness of this requirement. |
| As noted above URI personnel attended all of the NEMO training sessions offered in 2009. The University contracted with the Southern Rhode Island Conservation District to provide training modules for Preventing Storm Water Pollution at Your Public Works Facility in 2009. Twenty eight employees from the URI Lands & Ground Dept. and the Automotive Services attendee the two day training session. |
| IV.B.6.b.7 | Describe actions taken to ensure that new flow management projects undertaken by the operator are assessed for potential water quality impacts and existing projects are assessed for incorporation of additional water quality protection devices or practices. Evaluate appropriateness and effectiveness of this requirement. |
| RIDEM permitting will be required for all new flow management projects to assess water quality impacts. The University encourages infiltration and groundwater recharge be utilized in new projects and re-developments. The new College of Pharmacy project is an example of a project following this requirement. |
| Additional Measurable Goals and Activities |

SECTION III.A - Structural BMPs (Part IV.B.6.b.1.i)

| BMP ID: | Location: | Name of BMP Owner/Operator: | Description of BMP: |
| --- | --- | --- | --- |
| List provide in the 2008 Report. |  |  |  |

SECTION II.B - Discharges Causing Scouring or Excessive Sedimentation  (Part IV.B.6.b.1.v)

| Outfall ID: | Location: | Description of Problem: | Description of Remediation Taken, include dates: | Receiving Water Body Name/Description: |
| --- | --- | --- | --- | --- |
| URI - 011 | North end of Ellery Pond | Sedimentation buildup | Removed sediment with backhoe. | Ellery Pond/White Horn Brook |

SECTION II.C - Note any planned municipal construction projects/opportunities to incorporate water quality BMPs, low impact development, or activities to promote infiltration and recharge (Part IV.G.2.j).

| The University will continue to incorporate water quality BMPs and promote infiltration and groundwater recharge activities in new projects as applicable. The new College of Pharmacy is an example where water quality BMP’s are being used extensively. In 2010 a new dormitory project will also incorporate BMP’s that promote infiltration and recharge. Recent projects throughout the campus have included the use of infiltration areas to handle storm flow. Recent projects include the porous pavement parking lots and new dormitory infiltration systems. An example of a project in the construction phase is the rain water garden at the new CBLS Building. |  |
| --- | --- |

SECTION II.D - Please include a summary of results of any other information that has been collected and analyzed. This includes any type of data (Part IV.G.2.e).

TOTAL MAXIMUM DAILY LOAD (TMDL) or other Water Quality Determination REQUIREMENTS

SECTION I.  If you have been notified that discharges from your MS4 require non-structural or structural storm water controls based on an approved TMDL or other water quality determination, please provide an assessment of the progress towards meeting the requirements for the control of storm water identified in the approved TMDL (Part IV.G.2.d).  Please indicate rationale for the activities chosen to address the pollutant of concern.

| Not applicable. |  |
| --- | --- |

SPECIAL RESOURCE PROTECTION WATERS (SRPWs)

SECTION I.  In accordance with Rule 31(a)(5)(i)G of the Regulations for the Rhode Island Pollutant Discharge Elimination System (RIPDES Regs), on or after March 10, 2008, any discharge from a small municipal separate storm sewer system to any Special Resource Protection Waters (SRPWs) or impaired water bodies within its jurisdiction must obtain permits if a waiver has not been granted in accordance to Rule 31(g)(5)(iii).  A list of SRPWs can be found in Appendix D of the RIDEM Water Quality Regulations at this link: http://www.dem.ri.gov/pubs/regs/regs/water/h20q09a.pdf

The 2008 303(d) Impaired Waters list can be found in Appendix G of the 2008 Integrated Water Quality Monitoring and Assessment Report at this link: http://www.dem.ri.gov/programs/benviron/water/quality/pdf/iwqmon08.pdf

If you have discharges from your MS4 (regardless of its location) to any of the listed SRPWs or impaired waters (including impaired waters when a TMDL has not been approved), please provide an assessment of the progress towards expanding the MS4 Phase II Storm Water Program to include the discharges to the aforementioned waters and adapting the Six Minimum Control Measures to include the control of storm water in these areas.  Please indicate a rationale for the activities chosen to protect these waters. Please note that all of the measurable goals and BMPs required by the 2003 MS4 General Permit may not be applicable to these discharges.

Not applicable.

##### RHODE ISLAND DEPARTMENT OF ENVIRONMENTAL MANAGEMENT

Office of Water Resources

INSTRUCTIONS FOR THE RI POLLUTANT DISCHARGE ELIMINATION SYSTEM (RIPDES)

SMALL MUNICIPAL SEPARATE STORM SEWER SYSTEMS AND INDUSTRIAL ACTIVITY AT ELIGIBLE FACILITIES OPERATED BY REGULATED SMALL MS4s

ANNUAL REPORT FORM

##### WHO MUST SUBMIT AN ANNUAL REPORT:

Owners/Operators of regulated small municipal separate storm sewer systems (MS4s) and industrial activities authorized to discharge storm water under the Rhode Island Pollutant Discharge Elimination System (RIPDES) Storm Water General Permit for Small Municipal Separate Storm Sewer Systems and Industrial Activity at Eligible Facilities Operated by Regulated Small MS4s, must submit an Annual Report, outlined in Part IV.G of the permit. The Report must be submitted each year after permit issuance by March 10th to track progress of compliance.  If you have questions regarding this Annual Report Form contact Margarita Chatterton of the Rhode Island Department of Environmental Management (RIDEM), Office of Water Resources, Permitting Section at (401) 222-4700 ext. 7605.

The Annual Report must be submitted to:

RIDEM

Office of Water Resources

RIPDES Program

Permitting Section

235 Promenade Street

Providence, RI 02908

ATTN: Margarita Chatterton

##### INSTRUCTIONS FOR COMPLETION:

GENERAL INFORMATION PAGE:

“RIPDES Permit #”

Include your permit ID # to ensure proper tracking.

“Operator of MS4”

Give the legal name of the person, firm, public (municipal) organization, or any other entity that is responsible for day-to-day operations of the MS4 described in this application (RIPDES Rules 3 & 12). Enter the complete address and telephone number of the operator. Circle the appropriate choice to indicate the legal status of the operator of the MS4.

“Owner of MS4”

If the owner is the same as the operator do not complete this section. Give the legal name of the person, firm,

public (municipal) organization, or any other entity that owns the MS4 described in this application (RIPDES Rules 3 & 12). Do not use a colloquial name. Enter the complete address and telephone number of the owner.

“Certification”

State and federal statutes provide for severe penalties for submitting false information on this application form. State and federal regulations require this application to be signed as follows (RIPDES Rule 12);

For a corporation: by a responsible corporate officer, which means: (i) president, secretary, treasurer, or vice president of the corporation in charge of a principal business function, or any other person who performs similar policy or decision making functions, or (ii) the manager of one or more manufacturing, production, or operating facilities, provided the manager is authorized to make management decisions which govern the operation of the regulated facility including having the explicit or implicit duty of making major capital investment recommendations, and initiating and directing other comprehensive measures to assure long term environmental compliance with environmental laws and regulations; the manager can ensure that the necessary systems are established or actions taken to gather complete and accurate information or permit application requirements; and where authority to sign documentation has been assigned or delegated to the manager in accordance with cooperate procedures;

For a partnership or sole proprietorship: by a general

partner or the proprietor;

For a Municipality, State, Federal or other public site:

by either a principal executive officer or ranking elected official.

SECTION I- OVERALL EVALUATION OF BMPS AND  MEASURABLE GOALS:

One or more pages, front and back, are provided to report on the status of measurable goals which have been developed to aid in the implementation of strategies, procedures, and programs used to achieve each of the six minimum control measures in Part IV.B of the General Permit. This section provides narrative space for a descriptive explanation and evaluation of the actions taken to satisfy each of the minimum control measures for the 2009 calendar year. Please type or print. If additional space is needed modify as necessary, please submit attachments to the appropriate minimum control measure following the format provided.

A Permit ID # has been provided, which refers to the part of the permit where you can find a listing or description of the required measurable goal.

Please provide a general summary of actions taken (implementation of BMPs, development of procedures, events, etc.) to meet the measurable goals of the minimum measure.  Be sure to identify parties responsible for achieving each measurable goal and reference any reliance on another entity for achieving any measurable goal.

Describe whether each measurable goal was completed within the time proposed in the MS4 General Permit or your Storm Water Management Program Plan (SWMPP). Why or why not? Provide a progress report and discussion of activities that will be carried out during the next reporting cycle to satisfy the requirements of the minimum measures. If applicable, assess the appropriateness of the actions taken to meet the requirements of the minimum measure. In determining appropriateness, you may want to consider at a minimum the local population targeted, pollution sources addressed, receiving water concerns, integration with local management procedures, and available resources and violations or environmental impacts eliminated or minimized.

Also, discuss the effectiveness of the implementation of BMPs to meet the requirements of the minimum measure and the overall effectiveness of the minimum measure.  Describe your progress towards achieving the overall goal of reducing the discharge of pollutants.  Please include assessment parameters/indicators used to measure the success of the minimum measure. Also include a discussion of any proposed changes to BMPs or measurable goals.

After evaluation, it may be necessary to make changes or modifications to your Implementation Schedule if the time frame, appropriateness or effectiveness cannot be assured.  If so, please include descriptions of changes or modifications, and detailed justification in the appropriate sections.

SECTION II- ADDITIONAL ANNUAL REPORT REQUIREMENTS

Section III refers to additional reporting requirements that the MS4 General Permit is required to submit to the Department as part of the Annual Report. Section II requirements apply to Minimum Control Measures 2 through 6.

Minimum Control Measure #2: Section II:

Specify the date of and how the annual report was public noticed. If a public meeting was needed, provide the date and place. Include a summary of public comments received in the public comment period of the draft annual report and planned responses or changes to the program (new or revised BMP’s and measurable goals, partnerships, etc.). Be sure to attach a copy of your public notice (Parts IV.G.2.h and IV.G.2.i).

Minimum Control Measure #3: Section II.A:

Provide the number of illicit discharges identified, complaints received, violations with a summary of enforcement actions, and unresolved violations that have been referred to RIDEM. Include a short narrative describing the extent to which your system has been mapped (Part IV.G.2.m).

Minimum Control Measure #3: Section II.B:

List location, date found, operator of the physically interconnected MS4, and originating source of newly identified physical interconnections with other small MS4s.  Also note any planned or coordinated activities with the physically interconnected MS4 (Part IV.G.2.k and IV.G.2.l).

Minimum Control Measures #4 & 5: Section II.A:

Identify the number of construction and post-construction plan and SWPPP reviews completed during Year 6 (2009) and any further information. This includes, but is not limited to a summary of the reviews, responsible parties, and types of projects reviewed.

Minimum Control Measure #4: Section II.B:

Construction inspection information for erosion and sediment control should be submitted annually as stated in Part IV.G.2.n.  Provide a summary of the number of site inspections conducted, inspections that have resulted in enforcement actions, violations that have been resolved and of those unresolved, referred to RIDEM.

Minimum Control Measure #5: Section II.B:

Post-construction inspection information for proper installation of post-construction structural BMPs should be submitted annually as stated in Part IV.G.2.o.  This should provide a summary of the number of site inspections conducted, inspections that have resulted in enforcement actions, violations that have been resolved and of those unresolved, referred to RIDEM.

Minimum Control Measure #5: Section II.C:

Inspection information for proper operation and maintenance of post-construction structural BMPs should be submitted annually as stated in Part IV.G.2.p.  This should provide a summary of the number of site inspections conducted, inspections that have resulted in enforcement actions, violations that have been resolved and of those unresolved, referred to RIDEM.

Minimum Control Measure #6: Section II.A:

As prescribed in Part IV.B.6.b.1.i of the General Permit, the MS4 operator must identify and list the specific location and description of all structural BMPs in the SWMPP at the time of application and update the information in the annual report.

Minimum Control Measure #6: Section II.B:

Part IV.B.6.b.1.v of the Permit states to identify and report annually, as part of the annual report, known discharges causing scouring at outfall pipes or outfalls with excessive sedimentation. Include Outfall ID #, location, description of the problem, any remediation taken, and the ultimate receiving water body.

Minimum Control Measure #6: Section II.C:

As noted in Part IV.G.2.j of the General Permit, specify any planned municipal construction projects or opportunities to include water quality BMPs, low impact development, or seek to promote infiltration and recharge.

Minimum Control Measure #6: Section II.D:

Please include a summary of results of any other information that has been collected and analyzed.  This includes any type of data, including, but not limited to, dry weather survey data (Part IV.G.2.e).

TOTAL MAXIMUM DAILY LOAD (TMDL) or other Water Quality Determination REQUIREMENTS

Section I:

Complete this section only if your MS4 is subject to an approved TMDL. TMDL requirements may require the implementation of the six minimum control measures to address the pollutants of concern, and/or additional structural storm water controls or measures that are necessary to meet the provisions of the approved TMDL. Be sure to identify the approved TMDL and assess the progress towards meeting the requirements for the control of storm water (Part IV.G.2.d).

Provide a progress report: present status and discussion of activities that have been accomplished or will be carried out during the next reporting cycle to satisfy the requirements of the TMDL. If applicable assess the appropriateness of the BMPs selected under each of the six minimum control measures to meet the requirements of the TMDL. In determining appropriateness you may want to consider, violations or environmental impacts eliminated or minimized.

Please include assessment parameters/indicators that will be used to measure the success of the selected BMPs. Also include a discussion of any proposed changes to BMPs or measurable goals.

SPECIAL RESOURCE PROTECTION WATERS (SRPWs)

Section I:

Complete this section only if your MS4, located outside Urbanized Areas or Densely Populated Areas, discharges to:

a SRPW as listed in Appendix D of the RIDEM Water Quality Regulations at this link:

http://www.dem.ri.gov/pubs/regs/regs/water/h20q09a.pdf or

an impaired water body including water bodies with no approved TMDL as listed in Appendix G of the 2008 Integrated Water Quality Monitoring and Assessment Report at this link: http://www.dem.ri.gov/programs/benviron/water/quality/pdf/iwqmon08.pdf.

In accordance with Rule 31(a)(5)(i)G in the Regulations for the Rhode Island Pollutant Discharge Elimination System (RIPDES Regulations), MS4s were required to incorporate any discharges to these water bodies into their MS4 Program on or after March 10, 2008 unless a waiver has been granted in accordance with Rule 31(g)(5)(iii).

Provide a progress report on the present status and discussion of activities that have been accomplished or will be carried out during the next reporting cycle to incorporate these areas into the MS4’s Phase II Storm Water Program.