

Water Management Plan

A risk assessment will be conducted annually to determine:

1. Vulnerability to contamination
2. Availability of water during droughty seasons, like we experienced in 2012 and 2013.
3. Systems check for reliability
4. Water quality through testing – filters and PH balances will be added as necessary