Nixon Laboratory of Estuarine Ecology and Coastal Biogeochemistry

Nutrient Methods

Parameter	Method Reference	Instrument                      Detection Limit

Nitrite & Nitrate	USEPA Method 353.4	Lachat Instruments                       0.02 (M	Grasshoff (1976)	Quik Chem 8000 Flow

Injection Analyzer

Method 31-107-04-1-A

Ammonium	USEPA Method 365.3	Lachat Instruments                       0.05 (M

Grasshoff (1976)	Quik Chem 8000 Flow

Injection Analyzer

Method 31-107-06-1-B

Orthophosphate	USEPA Method 365.5	Lachat Instruments                       0.01 (M

Grasshoff (1976)	Quik Chem 8000 Flow

Murphy and Riley (1962)	Injection Analyzer

Method 30-115-01-3-A

Silicate		         Parsons et al (1984)               Lachat Instruments                        0.01(M

Grasshoff (1976)                    QuikChem 8000 Flow

Injection Analyzer

Method 31-114-27-1-A

Samples are collected, kept on ice and filtered within a few hours of collection. Filtering is done with an acid washed filtering set up (60 ml syringe and Millipore filtering tips) using 0.45 (m cellulose filtering membranes. Filtrate is placed in 60 ml polyethelene bottles and frozen at -20OC until analysis.

References:

Grasshoff, K. 1976. Methods of Seawater Analysis. Verlag Chemie, Second Edition.

Lachat Instruments Hach Company, 5600 Lindbergh Dr. Loveland, CO. 80539  www.lachatinstruments.com

Murphy, J., and Riley, J.P.  1962. A modified single solution method for the determination of phosphate in natural waters. , Anal. Chim Acta, 27:31-36.

Parsons, T.R., Maita, Y. and Lalli, C.M. 1984.  A Manual of Chemical and Biological Methods for Seawater Analysis, 1.7, Determination of Silicate, Oxford; New York : Pergamon Press. pp. 25-27.

U.S. Environmental Protection Agency. 1983. Methods for Chemical Analysis of Water and Wastes, EPA-600/4-79-020, Revised March 1983, Method 365.3.

U.S. Environmental Protection Agency. 1983. Methods for chemical analysis of water and wastes. EPA-600/4-79-020, Revised March 1983, Method 365.5

U.S. Environmental Protection Agency.  1997. Determination of Nitrate and Nitrite in Estuarine and Coastal Waters by Gas Segmented Continuous Flow Colorimetric Analysis. Ortner, P.B. and C. J. Fischer. Revision 2.0. Method 353.4.